Engineering Recommendation Issue 3, Amendment 7 (EREC G29/3-7): http://www.dcode.org.uk/assets/files/Qualifying%20Standards/ENA_EREC_G59_Issue_3_Amendment_7_(2019).pdf

| Contact name: |  |
| --- | --- |
| Company name (if applicable): |  |
| Email: |  |
| Phone number: |  |
| Address for correspondence: |  |

| Site name: |  |
| --- | --- |
| Site address |  |
| Import MPAN: |  |
| Export MPAN (if applicable) |  |
| Generation installed capacity (kW): |  |
| Generation type(s) (Choose from list A below) |  |
| Date of commissioning: |  |

Relay(s):

| Please state the number and manufacturers’ type of any Loss of Mains relays on the site: |  |
| --- | --- |
| Please state the settings: (Hz/s and time delay) |  |
| Please state the settings of any over frequency protection on site (Hz and time delay): |  |  |
| Please state the settings of any under frequency protection on site (Hz and time delay): |  |  |

Inverter(s) where there are inverters comprising part or all of the generation:

| Please state the number and manufacturers’ type of any inverters forming part of any generation on site: |  |
| --- | --- |
| Please state the settings of any Loss of Mains protection included in the inverters: |  |
| Please state any over frequency settings: |  |
| Please state any under frequency settings: |  |

List A:

- Wind

- Solar

- Hydro

- Pumped storage

- Marine

- Anaerobic digestion

- Biomass

- Energy from waste

- Sewage

- Biogas

- Landfill gas

- Coal

- Oil

- Gas (reciprocating engine)

- Gas (OCGT)

- Gas (CCGT)

- Gas (other)

- Diesel

- Battery storage

Please email any supporting evidence such as commissioning records and/or photographs of relevant equipment (relays and/or inverters), its name/rating plates and settings (where possible).

For guidance, please visit: https://futureproofyourpower.co.uk/ and read the Self-Serve tool: https://futureproofyourpower.co.uk/guide

If you have a photovoltaic inverter, please use the Manufacturer Knowledge Base: https://www.ena-eng.org/ALoMCP/mankb to check inverter compliance status

Please return to: G59ProtectionSettings@ukpowernetworks.co.uk