## Cover
File Name: | Long term system needs - March 2026
Created by: | UK Power Networks
Authors: | Yannis Moutafidis, Gunes BecerikMir
Maintained by: | Yannis Moutafidis, Gunes BecerikMir
Contents: | While all reasonable efforts have been made to ensure the accuracy of the information provided in this document, neither the licensee nor any of its directors or employees is under any liability for any errors, or for any misstatement or opinion on which a user of the document seeks to rely.
The needs are updated based on our forecasts, which are produced multiple times in a year. The DNOA results column is updated based on the latest DNOA report publication which is completed once a year at the end of March. Therefore the DNOA results column can be delayed in updating compared to the need.
Date | Changes summary |  | Issued by
2026-03-31 | This report is based on the 2026 Q1 forecast, incorporating the final tRESP pathways and Common Planning Assumptions for electric vehicles, domestic heat pumps, and energy efficiency measures. The assessment methodology has been refined from previous editions to improve consistency and transparency. All forecast pathways have been included in the confidence assessment, with confidence levels determined by the level of alignment across scenarios. Smaller variations in the identified constraint years indicate greater confidence. In addition, a new priority ranking framework has been introduced to categorise findings based on whether the first constraint year occurs within ED2, ED3, or beyond this period. |  | Gunes BecerikMir
Below outlines the definition of every column in the "List" spreadsheet.
Column | Definition | Source/comments
DNO | Licence Area
Sub-station | Name of the Substation
First constraint year | The year in which the substation first becomes constrained in Holistic Transition (HT) pathway.
DNOA Status | The status of the site in the recent DNOA process. Further details on DNOA recommendations are available in the latest DNOA Reports. | DNOA recommendations were developed using the 2025 Q4 forecast.
| DNOA review completed - The site has been assessed in the latest DNOA cycle, and the corresponding recommendation is available in the DNOA Reports. | https://www.ukpowernetworks.co.uk/our-company/distribution-network-options-assessment-dnoa
DNOA review next cycle - The site will be evaluated in the next DNOA assessment cycle.
Signposting - Sites where identified needs are expected to emerge by the end of ED3.
Monitor load growth - Sites where identified needs are expected to arise beyond ED3, requiring continued monitoring.
Reinforcement scheme | A list of sites with ongoing/completed/planned reinforcement projects. Additional details can be found in the recent Long Term Development Statement (LTDS) Infrastructure Projects dataset and Network Development Plan reports. | https://ukpowernetworks.opendatasoft.com/explore/dataset/ukpn-ltds-infrastructure-projects/table/
Long Term Development Statement and Network Development Plan — UK Power Networks
Confidence | The confidence level is determined by the variation in constraint years across different forecast pathways.
Priority Rank | Priority is assigned based on the first constraint year; specifically whether it falls in ED2, ED3, or later.

## List
DNO | Sub-station | First Constrained Year | DNOA Status | Reinforcement scheme | Confidence | Priority rank
EPN | Aldreth Total | 2026 | DNOA review completed |  | High | High
EPN | Alresford | 2026 | DNOA review completed |  | High | High
EPN | Austin Canons Primary | 2026 | DNOA review completed |  | High | High
LPN | Bow | 2026 | DNOA review completed |  | High | High
EPN | Brandon | 2026 | DNOA review completed |  | High | High
EPN | Brington | 2026 | DNOA review completed | Reinforcement in delivery | Low | High
LPN | Carnaby Street | 2026 | DNOA review next cycle |  | High | High
EPN | Central Harpenden | 2026 | DNOA review next cycle |  | High | High
EPN | Chatteris | 2026 | DNOA review completed |  | High | High
EPN | Chelmsford East Local | 2026 | DNOA review completed |  | Low | High
EPN | Cherry Green Total | 2026 | DNOA review completed |  | High | High
EPN | Cockfosters | 2026 | DNOA review completed | Reinforcement in delivery | High | High
SPN | D.W.S. | 2026 | DNOA review completed |  | High | High
SPN | Dymchurch | 2026 | DNOA review next cycle |  | High | High
EPN | East Enfield | 2026 | DNOA review next cycle |  | High | High
EPN | Exning | 2026 | DNOA review completed | Reinforcement in delivery | High | High
EPN | Eye | 2026 | DNOA review next cycle |  | High | High
EPN | Feltwell | 2026 | DNOA review completed |  | High | High
SPN | Gravesend South | 2026 | DNOA review next cycle |  | Low | High
EPN | Guyhirn | 2026 | DNOA review completed |  | High | High
SPN | Hailsham | 2026 | DNOA review next cycle |  | High | High
EPN | Halesworth Grid 33 | 2026 | DNOA review next cycle |  | High | High
EPN | Haverhill | 2026 | DNOA review next cycle |  | High | High
EPN | Hendon Way | 2026 | DNOA review completed |  | High | High
LPN | Hyde Park A | 2026 | DNOA review next cycle |  | High | High
EPN | Kenninghall | 2026 | DNOA review completed |  | High | High
EPN | Kimbolton | 2026 | DNOA review completed |  | High | High
EPN | Knebworth | 2026 | DNOA review next cycle |  | Low | High
EPN | Laxfield | 2026 | DNOA review completed |  | High | High
SPN | Lewes Central | 2026 | DNOA review next cycle |  | High | High
SPN | Lightweight Aggregates | 2026 | DNOA review next cycle |  | High | High
EPN | Linton Total | 2026 | DNOA review next cycle |  | Low | High
SPN | Little Chart | 2026 | DNOA review completed |  | High | High
EPN | Long Road | 2026 | DNOA review completed | Reinforcement in delivery | High | High
EPN | Lt Massingham | 2026 | DNOA review next cycle |  | High | High
EPN | Luton North Grid | 2026 | DNOA review next cycle |  | Medium | High
EPN | March Primary | 2026 | DNOA review completed |  | High | High
EPN | Martlesham Total | 2026 | DNOA review next cycle |  | Low | High
EPN | Mildenhall Total | 2026 | DNOA review next cycle |  | High | High
EPN | North Drive | 2026 | DNOA review completed |  | High | High
EPN | Old Road | 2026 | DNOA review next cycle |  | Low | High
EPN | Reed | 2026 | DNOA review completed | Reinforcement in delivery | High | High
SPN | Ripe | 2026 | DNOA review completed |  | High | High
EPN | Selwyn Road | 2026 | DNOA review completed |  | High | High
EPN | Snetterton | 2026 | DNOA review next cycle |  | High | High
EPN | St Anthony St | 2026 | DNOA review completed |  | High | High
EPN | Stickfast Lane | 2026 | DNOA review completed |  | High | High
SPN | Teddington | 2026 | DNOA review next cycle |  | Low | High
EPN | Thaxted Local | 2026 | DNOA review completed |  | High | High
EPN | Thorpe Grid 33 | 2026 | DNOA review completed |  | High | High
EPN | Tiptree | 2026 | DNOA review completed |  | Low | High
EPN | Waddesdon | 2026 | DNOA review completed |  | High | High
EPN | West Horndon | 2026 | DNOA review completed |  | High | High
SPN | West Worthing | 2026 | DNOA review next cycle |  | High | High
EPN | White Roding | 2026 | DNOA review completed |  | High | High
EPN | Wisbech Railway | 2026 | DNOA review next cycle |  | High | High
SPN | Wittersham | 2026 | DNOA review completed |  | High | High
EPN | Barsham | 2027 | DNOA review completed |  | Low | High
EPN | Biggleswade Total | 2027 | DNOA review next cycle |  | Medium | High
EPN | Broxbourne | 2027 | DNOA review next cycle |  | High | High
EPN | Cringleford Total | 2027 | DNOA review next cycle |  | High | High
EPN | High Street | 2027 | DNOA review next cycle |  | High | High
EPN | Houghton Regis Primary | 2027 | DNOA review next cycle |  | Low | High
EPN | Kimms Belt | 2027 | DNOA review completed |  | High | High
EPN | North Hitchin | 2027 | DNOA review next cycle |  | High | High
SPN | W. Weybridge 132/11 | 2027 | DNOA review completed |  | Low | High
EPN | Attleborough Total | 2028 | DNOA review completed | Reinforcement in delivery | Low | High
EPN | Beresford Avenue | 2028 | DNOA review completed |  | Low | High
EPN | Caister | 2028 | DNOA review completed |  | High | High
EPN | Cromer | 2028 | Signposting |  | High | High
EPN | Diss Grid | 2028 | DNOA review completed |  | High | High
EPN | Diss Grid 33 | 2028 | Signposting |  | Low | High
EPN | Fulbourn Grid 132/11 | 2028 | Signposting |  | Low | High
EPN | Halstead | 2028 | Signposting |  | High | High
EPN | Hilton | 2028 | Signposting |  | Medium | High
EPN | Ilmer Grid 33 | 2028 | Signposting |  | Low | High
EPN | Letchworth Grid 33 | 2028 | Signposting |  | Medium | High
SPN | Lewes Town | 2028 | Signposting |  | Low | High
EPN | Marshfoot Road | 2028 | Signposting |  | Low | High
SPN | Mountfield | 2028 | Signposting |  | High | High
SPN | Staplehurst | 2028 | Signposting |  | High | High
EPN | Stody | 2028 | DNOA review completed |  | High | High
EPN | Wendover | 2028 | Signposting |  | Low | High
SPN | Wrotham | 2028 | Signposting |  | High | High
EPN | Arbury Grid | 2029 | Signposting |  | Low | High
EPN | Brimsdown South Grid | 2029 | Signposting |  | Low | High
EPN | Bruce Grove | 2029 | Signposting |  | Low | High
EPN | Central Tottenham 11 | 2029 | Signposting |  | Medium | High
EPN | Downham Market | 2029 | Signposting |  | High | High
EPN | East Letchworth | 2029 | Signposting |  | High | High
SPN | Guildford B 11kV | 2029 | Signposting |  | High | High
EPN | Hartspring | 2029 | Signposting |  | Low | High
EPN | Hemel East | 2029 | Signposting |  | Medium | High
EPN | Hemel North | 2029 | Signposting |  | Low | High
EPN | Kings Lynn South Grid | 2029 | Signposting |  | High | High
EPN | Little Barford | 2029 | Signposting |  | High | High
EPN | March Grid 33 | 2029 | Signposting |  | Medium | High
EPN | Marston Road | 2029 | Signposting |  | Low | High
SPN | Medway Grid | 2029 | DNOA review completed | Reinforcement planned | Medium | High
EPN | Rainbow Lane Total | 2029 | Signposting |  | High | High
EPN | Rickmansworth | 2029 | Signposting |  | High | High
EPN | Sawston | 2029 | Signposting |  | Low | High
EPN | Sleaford St | 2029 | Signposting |  | High | High
EPN | Stevenage Grid 33 | 2029 | Signposting |  | Low | High
SPN | Sutton B | 2029 | Signposting |  | Low | High
EPN | Takeley | 2029 | Signposting |  | Medium | High
EPN | Thorley | 2029 | Signposting |  | Low | High
EPN | Turnford | 2029 | Signposting |  | Low | High
EPN | Ampthill | 2030 | Signposting |  | High | High
SPN | Aylesford | 2030 | Signposting |  | Low | High
LPN | Bankside D Total | 2030 | DNOA review completed | Reinforcement completed | High | High
EPN | Brimsdown North Grid 33 | 2030 | Signposting |  | Medium | High
EPN | Bury Grid | 2030 | DNOA review completed | Reinforcement in delivery | Low | High
SPN | Byfleet 132/11 | 2030 | Signposting |  | Low | High
SPN | Canterbury Town | 2030 | Signposting |  | High | High
EPN | Chaul End | 2030 | Signposting |  | High | High
LPN | Crayford | 2030 | Signposting |  | Low | High
EPN | Croydon | 2030 | Signposting |  | High | High
EPN | Gardiners Ln | 2030 | Signposting |  | Low | High
EPN | Hardwick Road Total | 2030 | Signposting |  | Low | High
EPN | Horsford | 2030 | Signposting |  | Low | High
EPN | Ladysmith Road | 2030 | Signposting |  | Low | High
SPN | Sevington Total | 2030 | Signposting |  | Low | High
EPN | Swaffham Grid | 2030 | Signposting |  | Low | High
EPN | Watsons Rd | 2030 | Signposting |  | Low | High
EPN | Watton | 2030 | Signposting |  | Low | High
SPN | Ashford East | 2031 | Signposting |  | Low | High
EPN | Aylesbury East Grid 33 | 2031 | Signposting |  | Low | High
SPN | Barming | 2031 | Signposting |  | Medium | High
EPN | Boundary Park | 2031 | Signposting |  | Low | High
EPN | Bury Grid 33 | 2031 | Signposting |  | Low | High
EPN | Dunstable | 2031 | Signposting |  | Medium | High
EPN | East Hertford | 2031 | Signposting |  | High | High
EPN | Exchange Street | 2031 | Signposting |  | Low | High
EPN | Fornham | 2031 | Signposting |  | High | High
EPN | George Hill | 2031 | Signposting |  | High | High
EPN | Halesworth Primary | 2031 | Signposting |  | High | High
SPN | Hurstpierpoint | 2031 | Signposting |  | High | High
LPN | Lithos Road | 2031 | Signposting |  | High | High
SPN | Littlehampton Total | 2031 | Signposting |  | Low | High
EPN | Manor Road Total | 2031 | Signposting |  | High | High
SPN | North Cheam | 2031 | Signposting |  | Low | High
SPN | Romney Warren | 2031 | Signposting |  | Low | High
SPN | Rye | 2031 | Signposting |  | High | High
LPN | Sewell Road | 2031 | DNOA review completed |  | High | High
SPN | Surbiton | 2031 | Signposting |  | Medium | High
SPN | Townsend Hook | 2031 | Signposting |  | High | High
EPN | Uplands Park | 2031 | Signposting |  | Medium | High
LPN | Verney Road | 2031 | DNOA review completed | Reinforcement in delivery | Low | High
SPN | Warehorne | 2031 | Signposting |  | Low | High
LPN | Waterloo Road | 2031 | Signposting |  | Medium | High
EPN | Austin Canons Grid 33 | 2032 | Signposting |  | Low | High
EPN | Beccles | 2032 | Signposting |  | Low | High
LPN | Bengeworth Road | 2032 | Signposting |  | High | High
SPN | Bexhill Town | 2032 | Signposting |  | Low | High
EPN | Bishops Stortford Grid 33 | 2032 | Signposting |  | Low | High
EPN | Bourn | 2032 | DNOA review completed | Reinforcement in delivery | High | High
EPN | Braintree Grid 33 | 2032 | Signposting |  | Low | High
EPN | Bury St | 2032 | Signposting |  | High | High
SPN | Canterbury Local | 2032 | Signposting |  | Low | High
EPN | Cheddington | 2032 | Signposting |  | High | High
EPN | Coxford | 2032 | DNOA review completed |  | Low | High
LPN | Dartford B | 2032 | Signposting |  | High | High
SPN | Epsom | 2032 | Signposting |  | High | High
EPN | Fulbourn Grid 33 | 2032 | Signposting |  | High | High
EPN | Gaywood Bridge | 2032 | Signposting |  | Low | High
SPN | Gravesend Town | 2032 | Signposting |  | Medium | High
EPN | Grays | 2032 | Signposting |  | Low | High
LPN | Hatchard Road | 2032 | Signposting |  | Medium | High
SPN | Kingston Total | 2032 | Signposting |  | High | High
EPN | Lexden | 2032 | Signposting |  | Low | High
EPN | Manns Rd Total | 2032 | Signposting |  | Low | High
EPN | Marks Tey | 2032 | Signposting |  | Medium | High
EPN | Milton Road | 2032 | DNOA review completed | Reinforcement in delivery | High | High
LPN | Newington House | 2032 | Signposting |  | Low | High
EPN | Ongar | 2032 | Signposting |  | High | High
EPN | Orton | 2032 | Signposting |  | Low | High
EPN | Playfield | 2032 | Signposting |  | High | High
EPN | Ponders End | 2032 | Signposting |  | Low | High
SPN | Shalford | 2032 | Signposting |  | High | High
SPN | South Orpington | 2032 | Signposting |  | High | High
EPN | Sundon 11 T3&T4 | 2032 | Signposting |  | High | High
SPN | Tenterden | 2032 | DNOA review completed |  | Low | High
EPN | Tilbury Compact Grid 33 | 2032 | Signposting |  | Low | High
SPN | Tunbridge Wells 132/11 | 2032 | Signposting |  | Low | High
EPN | Verity Way | 2032 | Signposting |  | Low | High
EPN | Wealdstone | 2032 | Signposting |  | Low | High
EPN | West Braintree | 2032 | Signposting |  | Low | High
EPN | West Chelmsford | 2032 | Signposting |  | Low | High
SPN | Weybridge | 2032 | Signposting |  | Medium | High
EPN | Whittlesey | 2032 | Signposting |  | High | High
LPN | Wood Lane 132/11kV | 2032 | Signposting |  | High | High
EPN | Wratting | 2032 | Signposting |  | Low | High
LPN | Aberdeen Place B | 2033 | DNOA review completed | Reinforcement planned | Medium | High
EPN | Basildon Local Total | 2033 | Monitor Load Growth |  | High | High
EPN | Belchamp Grid 33 | 2033 | Monitor Load Growth |  | Low | High
SPN | Betchworth Total | 2033 | Monitor Load Growth |  | Medium | High
LPN | Brixton | 2033 | Monitor Load Growth |  | High | High
EPN | Brogborough | 2033 | Monitor Load Growth |  | High | High
SPN | Burgess Hill | 2033 | Monitor Load Growth |  | High | High
SPN | Buxted | 2033 | Monitor Load Growth |  | High | High
EPN | Caddington | 2033 | Monitor Load Growth |  | High | High
EPN | Central Wembley | 2033 | Monitor Load Growth |  | Low | High
SPN | CERL | 2033 | Monitor Load Growth |  | High | High
SPN | Chatham Hill | 2033 | Monitor Load Growth |  | Low | High
EPN | Clacton Grid 33 | 2033 | Monitor Load Growth |  | High | High
LPN | Clapham Park Road | 2033 | Monitor Load Growth |  | Low | High
LPN | Clarks Road | 2033 | Monitor Load Growth |  | Low | High
EPN | Claydon Cement | 2033 | Monitor Load Growth |  | Low | High
SPN | Cowfold | 2033 | Monitor Load Growth |  | High | High
SPN | Crawley Ind West | 2033 | Monitor Load Growth |  | Medium | High
EPN | Dock Road | 2033 | Monitor Load Growth |  | High | High
SPN | Dover Total | 2033 | Monitor Load Growth |  | Low | High
EPN | Earlham Grid 33 | 2033 | Monitor Load Growth |  | Low | High
EPN | Earlham Grid Local A | 2033 | Monitor Load Growth |  | High | High
SPN | Effingham | 2033 | Monitor Load Growth |  | Low | High
LPN | Eltham Grid | 2033 | Monitor Load Growth |  | Medium | High
EPN | Fairstead Total | 2033 | Monitor Load Growth |  | Low | High
EPN | Fakenham | 2033 | Monitor Load Growth |  | High | High
EPN | Finchley Grid 33 | 2033 | Monitor Load Growth |  | High | High
EPN | Fleethall Grid 33 | 2033 | Monitor Load Growth |  | Medium | High
EPN | Godmanchester | 2033 | Monitor Load Growth |  | High | High
EPN | Grove Mill | 2033 | Monitor Load Growth |  | High | High
EPN | Hanger Lea | 2033 | Monitor Load Growth |  | Medium | High
EPN | Henstead | 2033 | Monitor Load Growth |  | Low | High
EPN | Highfield | 2033 | Monitor Load Growth |  | High | High
SPN | Horam | 2033 | Monitor Load Growth |  | High | High
SPN | Horsell | 2033 | Monitor Load Growth |  | Low | High
EPN | Huntingdon 11 Grid | 2033 | Monitor Load Growth |  | Low | High
EPN | Icklingham | 2033 | Monitor Load Growth |  | Medium | High
EPN | Ipswich Grid | 2033 | Monitor Load Growth |  | High | High
EPN | Ipswich Grid 33 | 2033 | Monitor Load Growth |  | Medium | High
EPN | Kingswood | 2033 | Monitor Load Growth |  | Low | High
EPN | Littleport | 2033 | Monitor Load Growth |  | Low | High
EPN | Luton Airport | 2033 | Monitor Load Growth |  | Low | High
EPN | Manton Lane | 2033 | Monitor Load Growth |  | High | High
EPN | Melbourn Primary | 2033 | Monitor Load Growth |  | High | High
LPN | Merton | 2033 | Monitor Load Growth |  | Medium | High
EPN | Nacton 11 | 2033 | Monitor Load Growth |  | Low | High
EPN | North Chingford | 2033 | Monitor Load Growth |  | Low | High
EPN | North Enfield | 2033 | Monitor Load Growth |  | Low | High
EPN | North Stevenage | 2033 | Monitor Load Growth |  | Low | High
SPN | Old Woking | 2033 | Monitor Load Growth |  | High | High
EPN | Purfleet Grid 33 | 2033 | Monitor Load Growth |  | Low | High
EPN | Rainham (EPN) | 2033 | Monitor Load Growth |  | Low | High
SPN | Rosherville | 2033 | Monitor Load Growth |  | Medium | High
EPN | Saffron Walden | 2033 | Monitor Load Growth |  | High | High
EPN | Severalls | 2033 | Monitor Load Growth |  | High | High
EPN | St Ives | 2033 | Monitor Load Growth |  | High | High
SPN | Steel Cross | 2033 | Monitor Load Growth |  | High | High
EPN | Stowmarket Grid 33 | 2033 | Monitor Load Growth |  | Low | High
EPN | Straight Road | 2033 | Monitor Load Growth |  | High | High
SPN | Strood 132/11 | 2033 | Monitor Load Growth |  | Medium | High
EPN | Sudbury | 2033 | Monitor Load Growth |  | High | High
SPN | Sutton A | 2033 | Monitor Load Growth |  | Medium | High
EPN | Tottenham Grid | 2033 | Monitor Load Growth |  | Low | High
SPN | W. Weybridge 132/33 | 2033 | Monitor Load Growth |  | Medium | High
EPN | Waltham Abbey | 2033 | Monitor Load Growth |  | Medium | High
SPN | Waterside | 2033 | Monitor Load Growth |  | Low | High
SPN | Wingham | 2033 | Monitor Load Growth |  | High | High
EPN | Arbury | 2034 | Monitor Load Growth |  | High | Medium
SPN | Beddington Local | 2034 | Monitor Load Growth |  | High | Medium
EPN | Bellhouse Ln | 2034 | Monitor Load Growth |  | High | Medium
SPN | Bolney Grid | 2034 | Monitor Load Growth |  | High | Medium
EPN | Cliff Quay Grid 33 | 2034 | Monitor Load Growth |  | Low | Medium
SPN | Cranleigh | 2034 | Monitor Load Growth |  | High | Medium
EPN | Durham Road | 2034 | Monitor Load Growth |  | High | Medium
EPN | Ely | 2034 | Monitor Load Growth |  | Low | Medium
LPN | Exeter Road | 2034 | Monitor Load Growth |  | High | Medium
EPN | Farcet | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Gorleston Grid 33 | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Harrow North Grid 33 | 2034 | Monitor Load Growth |  | Low | Medium
SPN | Headcorn | 2034 | Monitor Load Growth |  | Medium | Medium
EPN | Histon Grid 33 | 2034 | DNOA review completed | Reinforcement in delivery | Low | Medium
SPN | Horsebridge | 2034 | Monitor Load Growth |  | High | Medium
EPN | Ilmer 11 | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Kempstone | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Kings Langley | 2034 | Monitor Load Growth |  | High | Medium
EPN | Lakeside | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Lowestoft Grid | 2034 | Monitor Load Growth |  | High | Medium
EPN | Newmarket | 2034 | Monitor Load Growth |  | High | Medium
SPN | North Shoreham | 2034 | Monitor Load Growth |  | High | Medium
SPN | North Worthing | 2034 | Monitor Load Growth |  | High | Medium
SPN | Rainham | 2034 | Monitor Load Growth |  | High | Medium
EPN | Rayleigh Local | 2034 | Monitor Load Growth |  | Low | Medium
LPN | Ruxley (SPN) | 2034 | Monitor Load Growth |  | Medium | Medium
SPN | Sheerness 33/6.6kV | 2034 | Monitor Load Growth |  | Low | Medium
SPN | Shepway | 2034 | Monitor Load Growth |  | Low | Medium
SPN | Sittingbourne Grid | 2034 | DNOA review completed | Reinforcement in delivery | High | Medium
SPN | Sittingbourne Town | 2034 | Monitor Load Growth |  | High | Medium
EPN | South Harrow | 2034 | Monitor Load Growth |  | High | Medium
EPN | South Ruislip | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Sprowston | 2034 | Monitor Load Growth |  | Low | Medium
EPN | Thame | 2034 | Monitor Load Growth |  | High | Medium
EPN | Thetford Grid 33 | 2034 | Monitor Load Growth |  | Medium | Medium
EPN | Valleybridge Rd | 2034 | Monitor Load Growth |  | High | Medium
EPN | Wickford | 2034 | Monitor Load Growth |  | High | Medium
SPN | Withdean | 2034 | DNOA review completed | Reinforcement in delivery | Low | Medium
LPN | Woodgrange Park | 2034 | Monitor Load Growth |  | Medium | Medium
SPN | Worthing Grid A | 2034 | Monitor Load Growth |  | High | Medium
SPN | Addington Grid | 2035 | Monitor Load Growth |  | High | Medium
SPN | Angmering | 2035 | Monitor Load Growth |  | Low | Medium
SPN | Ashford Grid | 2035 | Monitor Load Growth |  | Low | Medium
SPN | Banstead | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Barnet Grid 33 | 2035 | DNOA review completed | Reinforcement planned | Medium | Medium
LPN | Bengeworth Road 33kV | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Berkhamsted | 2035 | Monitor Load Growth |  | High | Medium
EPN | Biggleswade East Grid 33 | 2035 | DNOA review completed | Reinforcement in delivery | High | Medium
EPN | Braintree Depot | 2035 | Monitor Load Growth |  | Low | Medium
LPN | Broadway | 2035 | Monitor Load Growth |  | High | Medium
EPN | Buckingham Road | 2035 | Monitor Load Growth |  | High | Medium
EPN | Bury (Cambs) Total | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Canvey | 2035 | Monitor Load Growth |  | Medium | Medium
SPN | Caterham | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Chalvedon | 2035 | Monitor Load Growth |  | High | Medium
EPN | Chase Cross | 2035 | Monitor Load Growth |  | High | Medium
SPN | Chertsey | 2035 | Monitor Load Growth |  | High | Medium
EPN | Chisbon Heath | 2035 | Monitor Load Growth |  | High | Medium
EPN | Church End | 2035 | Monitor Load Growth |  | High | Medium
SPN | Cobham (Surrey) | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Colchester Grid 33 | 2035 | Monitor Load Growth |  | High | Medium
EPN | East Barnet | 2035 | Monitor Load Growth |  | High | Medium
EPN | East Finchley | 2035 | Monitor Load Growth |  | Medium | Medium
SPN | East Grinstead | 2035 | Monitor Load Growth |  | High | Medium
SPN | Eastbourne 132/11 | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Elm Park | 2035 | Monitor Load Growth |  | High | Medium
LPN | Eltham Grid 33kV | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Golders Green | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Greenhill | 2035 | Monitor Load Growth |  | High | Medium
SPN | Hawkhurst | 2035 | Monitor Load Growth |  | High | Medium
EPN | Hornsey Grid 11 | 2035 | Monitor Load Growth |  | High | Medium
EPN | Hutton | 2035 | Monitor Load Growth |  | Low | Medium
SPN | Jarvis Brook | 2035 | Monitor Load Growth |  | High | Medium
LPN | Kimberley | 2035 | DNOA review completed | Reinforcement in delivery | Low | Medium
EPN | Landbeach | 2035 | Monitor Load Growth |  | High | Medium
SPN | Leatherhead Town | 2035 | Monitor Load Growth |  | High | Medium
EPN | Leigh | 2035 | Monitor Load Growth |  | Low | Medium
LPN | Ley Street | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Lindsey St | 2035 | Monitor Load Growth |  | High | Medium
EPN | Little Belhus | 2035 | Monitor Load Growth |  | High | Medium
EPN | Lowestoft Grid 33 | 2035 | Monitor Load Growth |  | High | Medium
SPN | Maidstone 132/33 | 2035 | Monitor Load Growth |  | Low | Medium
SPN | Medway Local | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Melton | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Merryhill | 2035 | Monitor Load Growth |  | High | Medium
EPN | Nevendon Grid 33 | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Park St | 2035 | Monitor Load Growth |  | Medium | Medium
EPN | Piccotts End Grid 33 | 2035 | Monitor Load Growth |  | Low | Medium
SPN | Purley Grid | 2035 | Monitor Load Growth |  | High | Medium
SPN | Queens Park | 2035 | Monitor Load Growth |  | Medium | Medium
SPN | Ramsgate | 2035 | DNOA review completed | Reinforcement in delivery | High | Medium
EPN | Sall Grid 33 | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Shenfield Grid 33 | 2035 | Monitor Load Growth |  | High | Medium
SPN | South Hove | 2035 | Monitor Load Growth |  | High | Medium
SPN | St Helier | 2035 | Monitor Load Growth |  | High | Medium
EPN | Sundon 33 | 2035 | Monitor Load Growth |  | Low | Medium
LPN | Sydenham Park | 2035 | Monitor Load Growth |  | Medium | Medium
SPN | Thanet Grid | 2035 | Monitor Load Growth |  | Low | Medium
EPN | Tottenham Grid 33 | 2035 | Monitor Load Growth |  | Low | Medium
LPN | West Norwood | 2035 | Monitor Load Growth |  | Medium | Medium
SPN | West Wickham | 2035 | Monitor Load Growth |  | High | Medium
LPN | Winlaton | 2035 | Monitor Load Growth |  | High | Medium
EPN | Wix | 2035 | Monitor Load Growth |  | Low | Medium
SPN | Addington Local | 2036 | Monitor Load Growth |  | High | Medium
EPN | Amersham 11 | 2036 | Monitor Load Growth |  | Medium | Medium
LPN | Axe Street | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Aylsham | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Bee | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Bellevue | 2036 | Monitor Load Growth |  | Medium | Medium
SPN | Betteshanger Grid | 2036 | Monitor Load Growth |  | Low | Medium
SPN | Brighton Fishersgate | 2036 | Monitor Load Growth |  | Low | Medium
LPN | Bulwer Street | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Cell Barnes 11 | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Central Edmonton | 2036 | Monitor Load Growth |  | High | Medium
SPN | Chelsfield Grid | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Cherry Tree | 2036 | Monitor Load Growth |  | High | Medium
EPN | Coggeshall | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | East Stevenage | 2036 | Monitor Load Growth |  | High | Medium
EPN | Elmswell | 2036 | Monitor Load Growth |  | Medium | Medium
LPN | Eltham High Street | 2036 | Monitor Load Growth |  | High | Medium
LPN | Epping New Road | 2036 | Monitor Load Growth |  | Medium | Medium
SPN | Ewell | 2036 | Monitor Load Growth |  | Medium | Medium
SPN | Faversham Total | 2036 | Monitor Load Growth |  | Medium | Medium
LPN | Forest Hill | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Foxash | 2036 | Monitor Load Growth |  | High | Medium
EPN | Frinton | 2036 | Monitor Load Growth |  | High | Medium
LPN | Glaucus Street | 2036 | DNOA review completed | Reinforcement in delivery | Medium | Medium
SPN | Goddards Green 33/11 | 2036 | Monitor Load Growth |  | High | Medium
EPN | Great Yarmouth Grid 33 | 2036 | Monitor Load Growth |  | High | Medium
SPN | Grovehurst Local | 2036 | Monitor Load Growth |  | High | Medium
EPN | Hadleigh Essex | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Hardingham | 2036 | Monitor Load Growth |  | Low | Medium
SPN | Harrietsham | 2036 | Monitor Load Growth |  | High | Medium
EPN | Harrow North | 2036 | Monitor Load Growth |  | Low | Medium
SPN | Hastings Local 11kV | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Hendon Grid 33 | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Hoddesdon | 2036 | Monitor Load Growth |  | Low | Medium
LPN | Holloway | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Holywell Grid 33 | 2036 | Monitor Load Growth |  | High | Medium
EPN | Houghton Regis Grid 33 | 2036 | Monitor Load Growth |  | Medium | Medium
LPN | King Henry's Walk | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Kings Lynn Grid 33 | 2036 | DNOA review completed | Reinforcement completed | Low | Medium
EPN | Lake & Elliot | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Lewsey | 2036 | Monitor Load Growth |  | High | Medium
EPN | Lonsdale Drive | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Lye Green Grid 33 | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Manor Way | 2036 | Monitor Load Growth |  | Medium | Medium
SPN | Merrow | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Mousehold | 2036 | Monitor Load Growth |  | High | Medium
EPN | Noak Hill | 2036 | Monitor Load Growth |  | High | Medium
SPN | Norbury | 2036 | Monitor Load Growth |  | High | Medium
EPN | North Wembley | 2036 | Monitor Load Growth |  | Low | Medium
SPN | Nutfield | 2036 | Monitor Load Growth |  | High | Medium
SPN | Paddock Wood | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Parsons Heath Total | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Peterborough Central 11 Total | 2036 | Monitor Load Growth |  | Medium | Medium
SPN | Richmond | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Roundwood Road Total | 2036 | Monitor Load Growth |  | High | Medium
EPN | Sandy | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Shenley | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | Soham | 2036 | Monitor Load Growth |  | Medium | Medium
EPN | South Benfleet Grid 33 | 2036 | Monitor Load Growth |  | Low | Medium
EPN | South Chingford | 2036 | Monitor Load Growth |  | High | Medium
EPN | St Pauls | 2036 | Monitor Load Growth |  | Low | Medium
SPN | Stanford | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Stanton Total | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Stonegrove | 2036 | Monitor Load Growth |  | High | Medium
EPN | Stowmarket Grid | 2036 | Monitor Load Growth |  | High | Medium
SPN | Sundridge | 2036 | Monitor Load Growth |  | Low | Medium
SPN | The Droveway | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Thorpe Bay | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Thundersley | 2036 | Monitor Load Growth |  | Low | Medium
EPN | West Green | 2036 | Monitor Load Growth |  | Low | Medium
SPN | West Hoathly | 2036 | Monitor Load Growth |  | Medium | Medium
SPN | Westgate | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Wickham Market Grid 33 | 2036 | Monitor Load Growth |  | Low | Medium
EPN | Becontree | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Billericay East | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Bois Lane | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Brentwood | 2037 | Monitor Load Growth |  | Medium | Medium
SPN | Byfleet 132/33 | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Chelmsford East Grid 33 | 2037 | Monitor Load Growth |  | Low | Medium
LPN | Chislehurst | 2037 | Monitor Load Growth |  | High | Medium
EPN | Colindale | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Coulsdon | 2037 | Monitor Load Growth |  | High | Medium
SPN | Cranbrook | 2037 | Monitor Load Growth |  | Medium | Medium
SPN | Croydon B | 2037 | Monitor Load Growth |  | High | Medium
EPN | Cuffley | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Danbury | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Dovercourt | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Eastcote Primary | 2037 | Monitor Load Growth |  | Low | Medium
LPN | Edwards Lane C | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Esher | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Farningham | 2037 | Monitor Load Growth |  | High | Medium
EPN | Great Missenden | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Guildford 6.6kV | 2037 | Monitor Load Growth |  | High | Medium
EPN | Hainault Ave | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Harrowden | 2037 | Monitor Load Growth |  | Medium | Medium
SPN | Hartley Grid | 2037 | Monitor Load Growth |  | High | Medium
EPN | Hatfield Grid 33 T1 and T2 | 2037 | Monitor Load Growth |  | High | Medium
EPN | Holywell Grid | 2037 | Monitor Load Growth |  | High | Medium
EPN | Hornchurch Grid 33 | 2037 | Monitor Load Growth |  | High | Medium
EPN | Letchworth Factory | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Leysdown | 2037 | Monitor Load Growth |  | High | Medium
EPN | Lye Green | 2037 | Monitor Load Growth |  | Low | Medium
LPN | North Cross Road | 2037 | Monitor Load Growth |  | Medium | Medium
EPN | Peterborough Central 33 | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Peterborough North Grid | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Polegate Grid | 2037 | Monitor Load Growth |  | Medium | Medium
SPN | Pulborough | 2037 | Monitor Load Growth |  | Medium | Medium
SPN | Purley Local | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Rayleigh Local 33 | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Selinas Lane | 2037 | Monitor Load Growth |  | High | Medium
EPN | Shefford | 2037 | Monitor Load Growth |  | High | Medium
EPN | South Chelmsford | 2037 | Monitor Load Growth |  | Medium | Medium
EPN | South Witham | 2037 | Monitor Load Growth |  | High | Medium
SPN | St Peters | 2037 | Monitor Load Growth |  | Low | Medium
LPN | Sydenham Park 33kV | 2037 | DNOA review completed | Reinforcement planned | High | Medium
SPN | Tonbridge East | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Tonbridge Town | 2037 | Monitor Load Growth |  | Medium | Medium
EPN | Turret Lane Total | 2037 | Monitor Load Growth |  | Low | Medium
SPN | Twickenham Grid | 2037 | Monitor Load Growth |  | High | Medium
SPN | Uckfield | 2037 | Monitor Load Growth |  | Low | Medium
EPN | Water Lane | 2037 | Monitor Load Growth |  | High | Medium
EPN | Watlington | 2037 | Monitor Load Growth |  | High | Medium
EPN | West Letchworth | 2037 | Monitor Load Growth |  | High | Medium
SPN | Whitstable | 2037 | Monitor Load Growth |  | Medium | Medium
LPN | Wimbledon Grid C 33kV | 2037 | Monitor Load Growth |  | High | Medium
EPN | Wymondham Total | 2037 | Monitor Load Growth |  | High | Medium
EPN | Abbots Central | 2038 | Monitor Load Growth |  | Low | Medium
SPN | Capel Total | 2038 | DNOA review completed | Reinforcement planned | High | Medium
EPN | Central Welwyn | 2038 | Monitor Load Growth |  | Low | Medium
LPN | Chadwick Road 33kV | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Chantry Lane | 2038 | Monitor Load Growth |  | Medium | Medium
EPN | Chelmsford North | 2038 | Monitor Load Growth |  | Low | Medium
LPN | Churchfields | 2038 | Monitor Load Growth |  | Medium | Medium
SPN | Crowborough Town | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Crowlands Grid 33 | 2038 | Monitor Load Growth |  | Low | Medium
SPN | Croydon A 6.6kV | 2038 | Monitor Load Growth |  | Low | Medium
LPN | Dermody Road | 2038 | Monitor Load Growth |  | High | Medium
SPN | Dorking | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Dunmow | 2038 | Monitor Load Growth |  | Low | Medium
EPN | East Dereham | 2038 | Monitor Load Growth |  | High | Medium
SPN | Eastchurch Prison Total | 2038 | Monitor Load Growth |  | Low | Medium
SPN | Edenbridge | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Frogmore | 2038 | Monitor Load Growth |  | Medium | Medium
SPN | Goddards Green | 2038 | Monitor Load Growth |  | Low | Medium
SPN | Guildford A 11kV | 2038 | Monitor Load Growth |  | High | Medium
SPN | Guildford Grid | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Hadleigh Suffolk | 2038 | Monitor Load Growth |  | High | Medium
EPN | Harold Wood | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Hatch End Grid 33 | 2038 | Monitor Load Growth |  | High | Medium
SPN | Haywards Heath | 2038 | Monitor Load Growth |  | High | Medium
EPN | Hemblington | 2038 | Monitor Load Growth |  | High | Medium
EPN | Huntingdon Grid 33 | 2038 | DNOA review completed | Reinforcement in delivery | Low | Medium
EPN | Ingatestone | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Little Barford Grid 33 | 2038 | Monitor Load Growth |  | Medium | Medium
EPN | Maldon Grid 33 | 2038 | Monitor Load Growth |  | High | Medium
SPN | Mereworth | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Mulbarton | 2038 | Monitor Load Growth |  | Low | Medium
SPN | Northiam | 2038 | Monitor Load Growth |  | Medium | Medium
EPN | Peasenhall | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Peldon | 2038 | Monitor Load Growth |  | High | Medium
EPN | Peterborough East | 2038 | Monitor Load Growth |  | High | Medium
SPN | Polegate Town | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Romford | 2038 | Monitor Load Growth |  | High | Medium
EPN | Shepreth | 2038 | Monitor Load Growth |  | High | Medium
SPN | Shirley | 2038 | Monitor Load Growth |  | High | Medium
SPN | Sittingbourne West | 2038 | Monitor Load Growth |  | Low | Medium
EPN | South Stevenage | 2038 | Monitor Load Growth |  | Low | Medium
EPN | South Woodham Total | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Southend West Total | 2038 | Monitor Load Growth |  | Low | Medium
SPN | Swanley | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Warren Heath | 2038 | Monitor Load Growth |  | High | Medium
EPN | West Beckham | 2038 | Monitor Load Growth |  | High | Medium
SPN | Woking Town | 2038 | Monitor Load Growth |  | Low | Medium
EPN | Abberton Grid 33 | 2039 | Monitor Load Growth |  | Medium | Medium
SPN | Ashtead | 2039 | Monitor Load Growth |  | High | Medium
SPN | Baldslow | 2039 | Monitor Load Growth |  | High | Medium
EPN | Barnwell | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Barrow | 2039 | Monitor Load Growth |  | Medium | Medium
SPN | Berrylands | 2039 | Monitor Load Growth |  | Low | Medium
SPN | Biggin Hill | 2039 | Monitor Load Growth |  | High | Medium
EPN | Braiswick | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Cell Barnes Grid 33 | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Central Potters Bar | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Cotton | 2039 | Monitor Load Growth |  | High | Medium
SPN | Crawley Ind East | 2039 | Monitor Load Growth |  | High | Medium
SPN | Croydon Grid | 2039 | Monitor Load Growth |  | Low | Medium
LPN | Dukes Avenue | 2039 | Monitor Load Growth |  | High | Medium
LPN | Durnsford | 2039 | Monitor Load Growth |  | Medium | Medium
EPN | Earlham West Total | 2039 | Monitor Load Growth |  | Medium | Medium
EPN | Egmere | 2039 | Monitor Load Growth |  | High | Medium
LPN | Farjeon | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Felixstowe Grid 33 | 2039 | DNOA review completed | Reinforcement in delivery | Low | Medium
SPN | Folkestone East | 2039 | Monitor Load Growth |  | High | Medium
EPN | Framlingham | 2039 | Monitor Load Growth |  | Medium | Medium
EPN | Gusford Hall | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Harlow West Grid 33 | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Hempton Grid 33 | 2039 | Monitor Load Growth |  | High | Medium
SPN | Horley | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Industrial | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Kensworth | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Langley Avenue | 2039 | Monitor Load Growth |  | Medium | Medium
SPN | Leatherhead Grid | 2039 | Monitor Load Growth |  | High | Medium
EPN | Leverington | 2039 | Monitor Load Growth |  | High | Medium
SPN | Lewes Grid | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Lyle | 2039 | Monitor Load Growth |  | High | Medium
EPN | Magdalen Way | 2039 | Monitor Load Growth |  | High | Medium
SPN | Maidstone Grid South | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Maldon Wick | 2039 | Monitor Load Growth |  | Medium | Medium
EPN | Marshalswick | 2039 | Monitor Load Growth |  | Low | Medium
SPN | Molesey | 2039 | Monitor Load Growth |  | High | Medium
SPN | Moulsecoomb Local | 2039 | Monitor Load Growth |  | Medium | Medium
SPN | Newhaven | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Newtown | 2039 | Monitor Load Growth |  | Low | Medium
SPN | Nork | 2039 | Monitor Load Growth |  | Low | Medium
SPN | North Chessington | 2039 | Monitor Load Growth |  | High | Medium
LPN | Orpington (SPN) | 2039 | Monitor Load Growth |  | Medium | Medium
SPN | Oxted | 2039 | Monitor Load Growth |  | High | Medium
EPN | Palmers Green Grid 33 | 2039 | Monitor Load Growth |  | High | Medium
EPN | Prebend Street | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Reydon | 2039 | Monitor Load Growth |  | High | Medium
SPN | Rye Grid | 2039 | Monitor Load Growth |  | Medium | Medium
EPN | Rye House Grid 33 | 2039 | Monitor Load Growth |  | Medium | Medium
SPN | Sellindge Grid | 2039 | Monitor Load Growth |  | High | Medium
SPN | Southgate | 2039 | Monitor Load Growth |  | Low | Medium
SPN | Spurgeons Bridge | 2039 | Monitor Load Growth |  | High | Medium
EPN | Stanmore Grid | 2039 | Monitor Load Growth |  | High | Medium
EPN | Stevenage Primary | 2039 | Monitor Load Growth |  | High | Medium
SPN | Sutton Grid | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Thetford Grid | 2039 | Monitor Load Growth |  | High | Medium
EPN | Tivetshall | 2039 | Monitor Load Growth |  | High | Medium
LPN | Townmead | 2039 | Monitor Load Growth |  | Low | Medium
LPN | Trinity Crescent | 2039 | Monitor Load Growth |  | Low | Medium
SPN | Walton | 2039 | Monitor Load Growth |  | Medium | Medium
LPN | Wandsworth | 2039 | Monitor Load Growth |  | Medium | Medium
EPN | Westbury | 2039 | Monitor Load Growth |  | Low | Medium
EPN | Whetstone | 2039 | Monitor Load Growth |  | High | Medium
SPN | Ashington | 2040 | Monitor Load Growth |  | Low | Medium
LPN | Blackhorse Lane | 2040 | Monitor Load Growth |  | Low | Medium
EPN | Bradwell | 2040 | Monitor Load Growth |  | High | Medium
SPN | Brighton Local | 2040 | Monitor Load Growth |  | High | Medium
LPN | Bromley South | 2040 | Monitor Load Growth |  | High | Medium
LPN | Buckhurst Hill 33kV via Brimsdown | 2040 | Monitor Load Growth |  | High | Medium
EPN | Cranham | 2040 | Monitor Load Growth |  | High | Medium
LPN | Gorringe Park | 2040 | Monitor Load Growth |  | Medium | Medium
EPN | Great Yarmouth Grid | 2040 | Monitor Load Growth |  | High | Medium
SPN | Ham | 2040 | Monitor Load Growth |  | Medium | Medium
SPN | Hampden Park | 2040 | Monitor Load Growth |  | High | Medium
EPN | Harleston | 2040 | Monitor Load Growth |  | High | Medium
EPN | Hornchurch Local | 2040 | Monitor Load Growth |  | High | Medium
EPN | Leiston | 2040 | Monitor Load Growth |  | Medium | Medium
EPN | Palmers Green Grid | 2040 | Monitor Load Growth |  | Medium | Medium
EPN | Sall Grid | 2040 | Monitor Load Growth |  | Low | Medium
EPN | South Hitchin | 2040 | Monitor Load Growth |  | Low | Medium
SPN | Southwick | 2040 | Monitor Load Growth |  | Low | Medium
SPN | Stone Marshes | 2040 | Monitor Load Growth |  | Low | Medium
EPN | Storeys Way | 2040 | Monitor Load Growth |  | Low | Medium
EPN | Tattingstone | 2040 | Monitor Load Growth |  | High | Medium
SPN | Three Bridges | 2040 | Monitor Load Growth |  | High | Medium
EPN | Tring | 2040 | Monitor Load Growth |  | Medium | Medium
EPN | Tuckswood Total | 2040 | Monitor Load Growth |  | Low | Medium
EPN | Upwell Lakes End | 2040 | Monitor Load Growth |  | Low | Medium
EPN | Ware | 2040 | Monitor Load Growth |  | High | Medium
EPN | West Potters Bar | 2040 | Monitor Load Growth |  | Low | Medium
LPN | Amberley Road 11kV | 2041 | Monitor Load Growth |  | Low | Low
SPN | Bridges Lane | 2041 | Monitor Load Growth |  | High | Low
SPN | Broadoak Local | 2041 | Monitor Load Growth |  | High | Low
SPN | Chatham Grid | 2041 | Monitor Load Growth |  | Low | Low
SPN | Crowhurst | 2041 | Monitor Load Growth |  | High | Low
EPN | Edison Road | 2041 | Monitor Load Growth |  | Low | Low
EPN | Elstree Primary Total | 2041 | Monitor Load Growth |  | High | Low
LPN | Fairlop | 2041 | Monitor Load Growth |  | Medium | Low
SPN | Folkestone 132/33 | 2041 | Monitor Load Growth |  | Medium | Low
EPN | Hapton Total | 2041 | Monitor Load Growth |  | Low | Low
EPN | Harlow West | 2041 | Monitor Load Growth |  | Medium | Low
SPN | Horsham 132/11 | 2041 | Monitor Load Growth |  | Low | Low
SPN | Hythe | 2041 | Monitor Load Growth |  | Low | Low
EPN | Kingsbury T1 | 2041 | Monitor Load Growth |  | High | Low
SPN | Leigh Grid | 2041 | Monitor Load Growth |  | High | Low
SPN | Little Common | 2041 | Monitor Load Growth |  | High | Low
EPN | Longstanton | 2041 | Monitor Load Growth |  | Low | Low
EPN | Luton South Grid | 2041 | Monitor Load Growth |  | Low | Low
SPN | Minster Total | 2041 | Monitor Load Growth |  | Low | Low
SPN | Newick | 2041 | Monitor Load Growth |  | Low | Low
EPN | North Finchley | 2041 | Monitor Load Growth |  | High | Low
EPN | North Walsham | 2041 | Monitor Load Growth |  | Low | Low
SPN | Ocklynge | 2041 | Monitor Load Growth |  | High | Low
SPN | Seaford | 2041 | Monitor Load Growth |  | High | Low
SPN | Selsdon | 2041 | Monitor Load Growth |  | Medium | Low
EPN | South Harlow | 2041 | Monitor Load Growth |  | Medium | Low
EPN | Southery | 2041 | Monitor Load Growth |  | Low | Low
EPN | The Limes | 2041 | Monitor Load Growth |  | Low | Low
EPN | Tunnel | 2041 | Monitor Load Growth |  | Low | Low
EPN | Wethersfield | 2041 | Monitor Load Growth |  | Medium | Low
LPN | Whiston Road | 2041 | Monitor Load Growth |  | Low | Low
EPN | Brockenhurst T1 | 2042 | Monitor Load Growth |  | High | Low
EPN | Burwell Primary | 2042 | Monitor Load Growth |  | Low | Low
SPN | Ninfield Local | 2042 | Monitor Load Growth |  | Medium | Low
EPN | Offord | 2042 | Monitor Load Growth |  | High | Low
SPN | Peacehaven | 2042 | Monitor Load Growth |  | High | Low
SPN | Pevensey Bay | 2042 | Monitor Load Growth |  | High | Low
SPN | Reigate | 2042 | Monitor Load Growth |  | High | Low
EPN | Rowley Lane Total | 2042 | Monitor Load Growth |  | Low | Low
SPN | Tunbridge Wells 132/6.6 | 2042 | Monitor Load Growth |  | High | Low
SPN | West Croydon | 2042 | Monitor Load Growth |  | High | Low
EPN | Woodwalton | 2042 | Monitor Load Growth |  | High | Low
EPN | Alpington | 2043 | Monitor Load Growth |  | High | Low
SPN | Ashford Central | 2043 | DNOA review completed | Reinforcement in delivery | Low | Low
SPN | Ashford West | 2043 | Monitor Load Growth |  | Low | Low
SPN | Brookwood | 2043 | Monitor Load Growth |  | High | Low
EPN | Bungay | 2043 | Monitor Load Growth |  | High | Low
LPN | Dartford Grid 33kV | 2043 | Monitor Load Growth |  | Low | Low
SPN | Eastbourne 132/33 | 2043 | Monitor Load Growth |  | High | Low
LPN | Holloway Grid 66kV | 2043 | Monitor Load Growth |  | Low | Low
EPN | Hornsey Grid 33 | 2043 | Monitor Load Growth |  | Low | Low
EPN | Much Hadham Total | 2043 | Monitor Load Growth |  | High | Low
EPN | New Harlow Total | 2043 | Monitor Load Growth |  | Low | Low
SPN | Newhaven Grid | 2043 | Monitor Load Growth |  | High | Low
EPN | Purfleet T1 & T2 | 2043 | Monitor Load Growth |  | High | Low
SPN | Sompting | 2043 | Monitor Load Growth |  | High | Low
EPN | Southend Grid 33 | 2043 | Monitor Load Growth |  | High | Low
EPN | Sudbury Court Total | 2043 | Monitor Load Growth |  | High | Low
EPN | Thaxted Grid 33 | 2043 | Monitor Load Growth |  | Low | Low
EPN | The Cross Total | 2043 | Monitor Load Growth |  | Low | Low
EPN | Walsoken | 2043 | Monitor Load Growth |  | Low | Low
EPN | Westoning Local | 2043 | Monitor Load Growth |  | Low | Low
EPN | Wroxham | 2043 | Monitor Load Growth |  | High | Low
LPN | Barnes B 6.6kV | 2044 | Monitor Load Growth |  | Medium | Low
SPN | Chartham | 2044 | Monitor Load Growth |  | High | Low
SPN | Chessington Grid | 2044 | Monitor Load Growth |  | High | Low
EPN | East Harpenden | 2044 | Monitor Load Growth |  | High | Low
LPN | Grove Lodge | 2044 | Monitor Load Growth |  | Medium | Low
SPN | Kemp Town | 2044 | Monitor Load Growth |  | Low | Low
EPN | Lawford Grid 33 | 2044 | Monitor Load Growth |  | Low | Low
SPN | Marden 33/11 | 2044 | Monitor Load Growth |  | High | Low
EPN | Martham | 2044 | DNOA review completed | Reinforcement completed | Low | Low
SPN | Northfleet East | 2044 | Monitor Load Growth |  | Low | Low
EPN | Peterborough South Grid 11 | 2044 | Monitor Load Growth |  | Low | Low
EPN | Shrub End | 2044 | Monitor Load Growth |  | High | Low
SPN | Singleton | 2044 | Monitor Load Growth |  | Low | Low
EPN | Snettisham Total | 2044 | Monitor Load Growth |  | High | Low
EPN | Stanmore Grid 33 | 2044 | Monitor Load Growth |  | High | Low
SPN | Thanet Local | 2044 | Monitor Load Growth |  | Low | Low
EPN | Austin Street | 2045 | Monitor Load Growth |  | Medium | Low
EPN | Belchamp Grid | 2045 | Monitor Load Growth |  | High | Low
EPN | Burnham | 2045 | Monitor Load Growth |  | Medium | Low
EPN | Bushey Mill Grid 33 | 2045 | Monitor Load Growth |  | Low | Low
EPN | Clacton Grid | 2045 | Monitor Load Growth |  | High | Low
EPN | Cranley Gardens | 2045 | Monitor Load Growth |  | High | Low
SPN | Crawley Town | 2045 | Monitor Load Growth |  | High | Low
SPN | Deal | 2045 | Monitor Load Growth |  | High | Low
EPN | Earlham Grid Local B | 2045 | Monitor Load Growth |  | High | Low
EPN | Glaxo | 2045 | Monitor Load Growth |  | Low | Low
SPN | Hampton | 2045 | Monitor Load Growth |  | High | Low
EPN | Histon Primary | 2045 | Monitor Load Growth |  | High | Low
EPN | Mill Hill T2 | 2045 | Monitor Load Growth |  | High | Low
EPN | Ormesby | 2045 | Monitor Load Growth |  | Low | Low
EPN | Outwell Moors | 2045 | Monitor Load Growth |  | Low | Low
SPN | Rainham Mark | 2045 | Monitor Load Growth |  | Low | Low
EPN | Rye House Local | 2045 | Monitor Load Growth |  | Low | Low
EPN | Scottow | 2045 | Monitor Load Growth |  | High | Low
EPN | Tapster Street | 2045 | Monitor Load Growth |  | High | Low
SPN | Twickenham | 2045 | Monitor Load Growth |  | Medium | Low
EPN | Welwyn Primary | 2045 | Monitor Load Growth |  | High | Low
SPN | Worthing Grid B | 2045 | Monitor Load Growth |  | Low | Low
EPN | Writtle Street | 2045 | Monitor Load Growth |  | Medium | Low
SPN | Canterbury South | 2046 | Monitor Load Growth |  | Medium | Low
LPN | Carslake | 2046 | Monitor Load Growth |  | High | Low
EPN | Drinkstone | 2046 | Monitor Load Growth |  | High | Low
EPN | Groton Total | 2046 | Monitor Load Growth |  | High | Low
SPN | Hangleton | 2046 | DNOA review completed | Reinforcement in delivery | Low | Low
EPN | Leicester Road 33 | 2046 | Monitor Load Growth |  | Low | Low
EPN | Royston Total | 2046 | Monitor Load Growth |  | Low | Low
EPN | Welwyn Grid 33 | 2046 | Monitor Load Growth |  | Low | Low
SPN | Worthing Town Total | 2046 | Monitor Load Growth |  | Low | Low
EPN | Beighton | 2047 | Monitor Load Growth |  | High | Low
EPN | Capability Green | 2047 | Monitor Load Growth |  | Low | Low
EPN | Hunstanton | 2047 | Monitor Load Growth |  | Medium | Low
SPN | Margate | 2047 | Monitor Load Growth |  | Low | Low
SPN | North Sevenoaks | 2047 | Monitor Load Growth |  | Low | Low
EPN | Trowse Grid 33 | 2047 | DNOA review completed | Reinforcement in delivery | Low | Low
EPN | Wiggenhall | 2047 | Monitor Load Growth |  | Low | Low
SPN | Betteshanger Local | 2048 | Monitor Load Growth |  | High | Low
EPN | Gooseberry Green | 2048 | Monitor Load Growth |  | High | Low
EPN | Kenton | 2048 | Monitor Load Growth |  | High | Low
EPN | May & Baker | 2048 | Monitor Load Growth |  | High | Low
EPN | Mersea Road | 2048 | Monitor Load Growth |  | High | Low
LPN | Petts Wood (SPN) | 2048 | Monitor Load Growth |  | Low | Low
EPN | Pinner Green | 2048 | Monitor Load Growth |  | High | Low
SPN | Richborough Local | 2048 | Monitor Load Growth |  | Low | Low
SPN | Wadhurst | 2048 | Monitor Load Growth |  | High | Low
EPN | Weston Longville | 2048 | Monitor Load Growth |  | Low | Low
EPN | Witham | 2048 | Monitor Load Growth |  | Low | Low
LPN | Bromley Grid 33kV | 2049 | Monitor Load Growth |  | Low | Low
SPN | Tunbridge Wells Town via 132/6.6 | 2049 | Monitor Load Growth |  | High | Low
LPN | Aberdeen Place A | - | Monitor Load Growth |  | - | -
EPN | Acrows | - | Monitor Load Growth |  | - | -
EPN | Addenbrookes | - | Monitor Load Growth |  | - | -
SPN | Addington Grid 33/11 | - | Monitor Load Growth |  | - | -
EPN | Adelaide St | - | Monitor Load Growth |  | - | -
EPN | Arla Dairies | - | Monitor Load Growth |  | - | -
SPN | Ashburton Grid | - | Monitor Load Growth |  | - | -
LPN | Back Hill 33kV Total | - | DNOA review completed | Reinforcement in delivery | - | -
LPN | Back Hill A | - | Monitor Load Growth |  | - | -
LPN | Bankside C Total | - | Monitor Load Growth |  | - | -
EPN | Barclay Way | - | Monitor Load Growth |  | - | -
LPN | Barking West | - | Monitor Load Growth |  | - | -
EPN | Barrack Street Total | - | Monitor Load Growth |  | - | -
EPN | Barton | - | Monitor Load Growth |  | - | -
EPN | Basildon Grid 33 | - | Monitor Load Growth |  | - | -
EPN | Bassingbourn | - | Monitor Load Growth |  | - | -
EPN | Bata | - | Monitor Load Growth |  | - | -
SPN | Beddington 132/33 | - | Monitor Load Growth |  | - | -
LPN | Beech Street A | - | Monitor Load Growth |  | - | -
LPN | Beech Street B | - | Monitor Load Growth |  | - | -
EPN | Benhall | - | Monitor Load Growth |  | - | -
SPN | Bensham Grove | - | Monitor Load Growth |  | - | -
EPN | Bentwaters | - | Monitor Load Growth |  | - | -
EPN | Berechurch | - | Monitor Load Growth |  | - | -
LPN | Blackwall Way 132/11 | - | Monitor Load Growth |  | - | -
LPN | Bloomfield | - | Monitor Load Growth |  | - | -
EPN | Boxted Total | - | Monitor Load Growth |  | - | -
EPN | Brantham | - | Monitor Load Growth |  | - | -
SPN | Brighton Town Total | - | Monitor Load Growth |  | - | -
SPN | Burham Grid | - | Monitor Load Growth |  | - | -
LPN | Burlington Road | - | Monitor Load Growth |  | - | -
EPN | Burnham Thorpe | - | Monitor Load Growth |  | - | -
EPN | Burwell Local Grid 33 | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Bushey Mill Grid 11 | - | Monitor Load Growth |  | - | -
LPN | Calshot Street | - | Monitor Load Growth |  | - | -
SPN | Chatham West Total | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Chequers | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Chinnor | - | Monitor Load Growth |  | - | -
LPN | City Road B | - | Monitor Load Growth |  | - | -
LPN | City Road C | - | Monitor Load Growth |  | - | -
SPN | Cobham (Kent) Total | - | Monitor Load Growth |  | - | -
EPN | Colchester Grid 11 | - | Monitor Load Growth |  | - | -
EPN | Coldharbour Farm | - | Monitor Load Growth |  | - | -
EPN | Cornard | - | Monitor Load Growth |  | - | -
EPN | Coryton Grid 33 | - | Monitor Load Growth |  | - | -
SPN | Crossways | - | Monitor Load Growth |  | - | -
EPN | Crouch End | - | Monitor Load Growth |  | - | -
SPN | Croydon Central | - | Monitor Load Growth |  | - | -
SPN | Croydon Grid 11kV | - | Monitor Load Growth |  | - | -
EPN | Debenham | - | Monitor Load Growth |  | - | -
LPN | Deptford 22kV | - | Monitor Load Growth |  | - | -
LPN | Deptford Grid | - | Monitor Load Growth |  | - | -
LPN | Devonshire Square | - | Monitor Load Growth |  | - | -
SPN | Dormansland Grid | - | Monitor Load Growth |  | - | -
LPN | Duke Street | - | Monitor Load Growth |  | - | -
EPN | East Bay | - | Monitor Load Growth |  | - | -
EPN | East Cambridge Grid 33 | - | DNOA review completed | Reinforcement in delivery | - | -
SPN | East Croydon | - | Monitor Load Growth |  | - | -
SPN | Ebbsfleet | - | Monitor Load Growth |  | - | -
LPN | Ebury Bridge | - | Monitor Load Growth |  | - | -
EPN | Epping Grid 33 | - | Monitor Load Growth |  | - | -
LPN | Erith | - | Monitor Load Growth |  | - | -
EPN | Fagbury Road Total | - | Monitor Load Growth |  | - | -
LPN | Finsbury Market A | - | Monitor Load Growth |  | - | -
LPN | Finsbury Market B 33kV | - | Monitor Load Growth |  | - | -
LPN | Finsbury Market D | - | Monitor Load Growth |  | - | -
LPN | Finsbury Market E | - | Monitor Load Growth |  | - | -
LPN | Finsbury Market F 33kV | - | Monitor Load Growth |  | - | -
LPN | Fisher Street 132/11 | - | Monitor Load Growth |  | - | -
EPN | Fleethall Local | - | Monitor Load Growth |  | - | -
SPN | Folkestone Morehall | - | Monitor Load Growth |  | - | -
EPN | Fords Dunton | - | Monitor Load Growth |  | - | -
EPN | Fore Hamlet Total | - | Monitor Load Growth |  | - | -
SPN | Forest Row | - | Monitor Load Growth |  | - | -
SPN | Four Elms | - | Monitor Load Growth |  | - | -
LPN | Fulham Palace 'C' | - | Monitor Load Growth |  | - | -
EPN | Funthams Lane Total | - | Monitor Load Growth |  | - | -
SPN | Gatwick Airport A/F | - | Monitor Load Growth |  | - | -
LPN | Georgiana Street | - | Monitor Load Growth |  | - | -
LPN | Gibbons Road | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Glemsford | - | Monitor Load Growth |  | - | -
SPN | Goudhurst | - | Monitor Load Growth |  | - | -
SPN | Grain | - | Monitor Load Growth |  | - | -
SPN | Gravesend West | - | Monitor Load Growth |  | - | -
EPN | Great Witchingham | - | Monitor Load Growth |  | - | -
SPN | Grovehurst | - | Monitor Load Growth |  | - | -
EPN | Hacheston | - | Monitor Load Growth |  | - | -
LPN | Hackney C | - | Monitor Load Growth |  | - | -
LPN | Hackney Grid 66kV | - | Monitor Load Growth |  | - | -
SPN | Halling | - | Monitor Load Growth |  | - | -
SPN | Hastings 132/33 | - | Monitor Load Growth |  | - | -
EPN | Hatch End Grid | - | Monitor Load Growth |  | - | -
EPN | Hatfield 11 | - | Monitor Load Growth |  | - | -
LPN | Hearn Street | - | Monitor Load Growth |  | - | -
EPN | Hedley Avenue | - | Monitor Load Growth |  | - | -
SPN | Herne Bay Grid | - | Monitor Load Growth |  | - | -
SPN | Herne Bay Total | - | Monitor Load Growth |  | - | -
EPN | Hitcham | - | Monitor Load Growth |  | - | -
EPN | Honington | - | DNOA review completed | Reinforcement in delivery | - | -
LPN | Hyde Park B | - | Monitor Load Growth |  | - | -
EPN | Ilketshall Grid 33 | - | Monitor Load Growth |  | - | -
LPN | Imperial College | - | Monitor Load Growth |  | - | -
SPN | Kenardington | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Kennett | - | Monitor Load Growth |  | - | -
LPN | Kings Yard A | - | Monitor Load Growth |  | - | -
LPN | Kings Yard B | - | Monitor Load Growth |  | - | -
SPN | Kingsnorth | - | Monitor Load Growth |  | - | -
SPN | Kingston Grid | - | Monitor Load Growth |  | - | -
LPN | Kingsway | - | Monitor Load Growth |  | - | -
LPN | Kingsway Total | - | Monitor Load Growth |  | - | -
EPN | Knapton | - | Monitor Load Growth |  | - | -
EPN | Lakenheath | - | Monitor Load Growth |  | - | -
EPN | Langdon | - | Monitor Load Growth |  | - | -
EPN | Langham | - | Monitor Load Growth |  | - | -
EPN | Leavesden Studios | - | Monitor Load Growth |  | - | -
LPN | Leicester Square | - | Monitor Load Growth |  | - | -
EPN | Leighton Buzzard | - | Monitor Load Growth |  | - | -
EPN | Letchworth Local | - | Monitor Load Growth |  | - | -
LPN | Limeburner Lane | - | Monitor Load Growth |  | - | -
SPN | Littlebrook Park 132/11 | - | Monitor Load Growth |  | - | -
LPN | Lombard Road B | - | Monitor Load Growth |  | - | -
SPN | Longfield | - | Monitor Load Growth |  | - | -
LPN | Longford Street | - | Monitor Load Growth |  | - | -
SPN | Lordswood | - | Monitor Load Growth |  | - | -
EPN | Luton North 33kV | - | Monitor Load Growth |  | - | -
EPN | Luton St Marys | - | Monitor Load Growth |  | - | -
EPN | Madingley Road | - | Monitor Load Growth |  | - | -
SPN | Maidstone Grid North | - | Monitor Load Growth |  | - | -
EPN | Maldon Causway | - | Monitor Load Growth |  | - | -
SPN | Manston | - | Monitor Load Growth |  | - | -
EPN | Marston Grid 33 | - | Monitor Load Growth |  | - | -
SPN | Meads | - | Monitor Load Growth |  | - | -
EPN | Melbourn Grid 33 | - | Monitor Load Growth |  | - | -
LPN | Montford Place Total | - | Monitor Load Growth |  | - | -
LPN | Moreton Street | - | Monitor Load Growth |  | - | -
LPN | Moreton Street C | - | Monitor Load Growth |  | - | -
LPN | Moscow Road | - | Monitor Load Growth |  | - | -
LPN | Moscow Road 11kV | - | Monitor Load Growth |  | - | -
LPN | Moscow Road 22kV | - | Monitor Load Growth |  | - | -
SPN | Moulsecoomb Grid | - | Monitor Load Growth |  | - | -
EPN | Narborough | - | Monitor Load Growth |  | - | -
LPN | Neckinger | - | Monitor Load Growth |  | - | -
LPN | Nelson Street | - | DNOA review completed | Reinforcement completed | - | -
SPN | New Hythe | - | Monitor Load Growth |  | - | -
SPN | Ninfield Grid | - | Monitor Load Growth |  | - | -
EPN | Northwold | - | Monitor Load Growth |  | - | -
LPN | Old Brompton Road | - | Monitor Load Growth |  | - | -
LPN | Old School Close | - | Monitor Load Growth |  | - | -
EPN | Old Welwyn Total | - | Monitor Load Growth |  | - | -
EPN | Orford | - | Monitor Load Growth |  | - | -
LPN | Osborn Street 132/11 | - | Monitor Load Growth |  | - | -
EPN | Oysterbed Road | - | Monitor Load Growth |  | - | -
LPN | Paternoster | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Peachman Way Total | - | Monitor Load Growth |  | - | -
SPN | Pembury Grid | - | Monitor Load Growth |  | - | -
SPN | Penshurst | - | Monitor Load Growth |  | - | -
EPN | Perry | - | Monitor Load Growth |  | - | -
EPN | Peterborough South Grid 33 | - | Monitor Load Growth |  | - | -
EPN | Pitstone | - | Monitor Load Growth |  | - | -
EPN | Pondwicks Primary | - | DNOA review completed | Reinforcement completed | - | -
SPN | Portslade | - | Monitor Load Growth |  | - | -
SPN | Prologis 132/11 | - | Monitor Load Growth |  | - | -
EPN | Purfleet T3 & T4 | - | Monitor Load Growth |  | - | -
SPN | Queenborough | - | Monitor Load Growth |  | - | -
EPN | Radnor | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | RAF Alconbury | - | Monitor Load Growth |  | - | -
SPN | Redhill | - | Monitor Load Growth |  | - | -
SPN | Richborough Grid | - | Monitor Load Growth |  | - | -
EPN | Rickinghall | - | Monitor Load Growth |  | - | -
SPN | Robertsbridge | - | Monitor Load Growth |  | - | -
EPN | Romford North | - | Monitor Load Growth |  | - | -
SPN | Rottingdean Total | - | Monitor Load Growth |  | - | -
SPN | Ruckinge Grid | - | Monitor Load Growth |  | - | -
SPN | Rusthall | - | Monitor Load Growth |  | - | -
EPN | Saunderton | - | Monitor Load Growth |  | - | -
SPN | Selhurst | - | Monitor Load Growth |  | - | -
EPN | Sentrum Watford (Inset) | - | Monitor Load Growth |  | - | -
SPN | Sheerness Grid | - | Monitor Load Growth |  | - | -
EPN | Shell Grid 33 | - | Monitor Load Growth |  | - | -
LPN | Shorts Gardens | - | Monitor Load Growth |  | - | -
EPN | Shotley | - | Monitor Load Growth |  | - | -
LPN | Silvertown | - | Monitor Load Growth |  | - | -
LPN | Simpsons Road | - | Monitor Load Growth |  | - | -
SPN | Smallfield Grid | - | Monitor Load Growth |  | - | -
SPN | Smeeth | - | Monitor Load Growth |  | - | -
LPN | South Bank | - | Monitor Load Growth |  | - | -
EPN | South Benfleet Primary | - | Monitor Load Growth |  | - | -
SPN | South Worthing | - | Monitor Load Growth |  | - | -
EPN | Southend Grid 11 | - | Monitor Load Growth |  | - | -
SPN | Southwater | - | Monitor Load Growth |  | - | -
LPN | St Johns Wood 22kV | - | Monitor Load Growth |  | - | -
EPN | St Stephens | - | Monitor Load Growth |  | - | -
EPN | Stalham | - | Monitor Load Growth |  | - | -
EPN | Stansted Airport | - | Monitor Load Growth |  | - | -
SPN | Stelrad Ramsgate | - | Monitor Load Growth |  | - | -
LPN | Stewarts Road | - | Monitor Load Growth |  | - | -
SPN | Steyning Grid | - | Monitor Load Growth |  | - | -
SPN | Steyning Local | - | Monitor Load Growth |  | - | -
LPN | Stone (SPN) | - | Monitor Load Growth |  | - | -
EPN | Stopsley | - | Monitor Load Growth |  | - | -
SPN | Suffolk Road | - | Monitor Load Growth |  | - | -
EPN | Sundon 11 T1&T2 | - | Monitor Load Growth |  | - | -
EPN | Swaffham Grid 33 | - | Monitor Load Growth |  | - | -
LPN | Swanscombe (SPN) | - | Monitor Load Growth |  | - | -
EPN | Thompsons Lane | - | Monitor Load Growth |  | - | -
EPN | Thorpe Grid Local | - | Monitor Load Growth |  | - | -
SPN | Ticehurst | - | Monitor Load Growth |  | - | -
EPN | Tilbury Local | - | Monitor Load Growth |  | - | -
EPN | Tillingham Total | - | Monitor Load Growth |  | - | -
LPN | Tooley Street | - | Monitor Load Growth |  | - | -
SPN | Tunbridge Wells 132/33 | - | Monitor Load Growth |  | - | -
LPN | Victoria Gardens | - | Monitor Load Growth |  | - | -
LPN | Victoria Street | - | Monitor Load Growth |  | - | -
EPN | Walsoken Grid 33 | - | Monitor Load Growth |  | - | -
EPN | Waltham Park Grid | - | Monitor Load Growth |  | - | -
LPN | Wandsworth Grid 66kV | - | DNOA review completed | Reinforcement in delivery | - | -
EPN | Warners End | - | Monitor Load Growth |  | - | -
EPN | Warren Springs | - | Monitor Load Growth |  | - | -
EPN | Wembley Park | - | Monitor Load Growth |  | - | -
EPN | West Bedford | - | Monitor Load Growth |  | - | -
LPN | West Ferry Circus | - | Monitor Load Growth |  | - | -
LPN | West Ham 66kV | - | Monitor Load Growth |  | - | -
LPN | West Ham Grid Total | - | Monitor Load Growth |  | - | -
EPN | West Hanningfield Total | - | Monitor Load Growth |  | - | -
EPN | West Hertford | - | Monitor Load Growth |  | - | -
EPN | Westoning Grid | - | Monitor Load Growth |  | - | -
SPN | Weyside | - | Monitor Load Growth |  | - | -
EPN | Whapload Road | - | Monitor Load Growth |  | - | -
EPN | Worstead | - | Monitor Load Growth |  | - | -
EPN | Wymondley Grid 33 | - | Monitor Load Growth |  | - | -