## Cover
File Name: | Long term system needs - February 2026
Created by: | UK Power Networks
Authors: | Yannis Moutafidis, Gunes BecerikMir
Maintained by: | Yannis Moutafidis, Gunes BecerikMir
Contents: | While all reasonable efforts have been made to ensure the accuracy of the information provided in this document, neither the licensee nor any of its directors or employees is under any liability for any errors, or for any misstatement or opinion on which a user of the document seeks to rely. The needs are updated based on our forecasts, which are produced multiple times in a year. The DNOA results column is updated based on the DNOA report publication which is completed once a year at the end of March. Therefore the DNOA results column can be delayed in updating compared to the need.
Date | Changes summary | Issued by
2026-02-24 | Publication based on 2025Q4 forecasts, influenced by tRESP inputs. | Gunes BecerikMir
Below outlines the definition of every column in the "List" spreadsheet.
Column | Definition
DNO | Licence Area
Sub-station | Name of the Substation
First constraint year | The year in which the substation first becomes constrained
Signposting | The year in which we aim to signpost the need to the flexibility market
Start DNOA review | The year in which the substation will begin the DNOA review process
Current Status | The status of the DNOA process
Site Status | The status of the site in the corresponding year
Confidence | The confidence level that the need will persist

## List
DNO | Sub-station | First constraint year | Signposting | Start DNOA review | Current DNOA Status | Site Status | Confidence
EPN | Aldreth | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Guyhirn | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Hendon Way | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Kenninghall | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Kimbolton | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Laxfield | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Lt Massingham | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | North Drive | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Reed | 2026 | Completed | Completed | DNOA review completed | Flexibility with Reinforcement | High
EPN | Selwyn Road | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Stickfast Lane | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Thaxted Local | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Waddesdon | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | White Roding | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Burwell Milton Arbury Histon Circuits | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Stody | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Thorpe Grid 33 | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Bramford Diss Thetford Circuits | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Central Harpenden | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Chelmsford East Local | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Coxford | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Feltwell | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Haverhill | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | March Primary | 2026 | Completed | Completed | DNOA review completed | Flexibility | Low
SPN | Ashford Central | 2026 | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | St Anthony St | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Wratting | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
LPN | Back Hill B 33kV | - | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Bankside D Total | - | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | Bourn | 2029 | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Broadoak 33kV Group | 2026 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | Burwell Local Grid 33 | - | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Bow | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
LPN | Charing Cross 6.6kV | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Bury Grid | 2031 | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Capel Switching Station | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
SPN | Dover T1/T2 | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Dymchurch | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Chatham West A (T1 and T2) | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Lightweight Aggregates | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Rainham | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Ripe | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
SPN | Sevington | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
SPN | West Worthing | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Wittersham | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
SPN | W. Weybridge 132/11 | 2026 | Completed | Completed | DNOA review completed | Flexibility | Low
SPN | Ashford East | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | D.W.S. | 2026 | Completed | Completed | DNOA review completed | Flexibility | High
SPN | Little Chart | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Tenterden | 2026 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Attleborough Total | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Barsham | 2027 | Completed | Completed | DNOA review completed | Flexibility | Low
EPN | Beresford Avenue | 2027 | Completed | Completed | DNOA review completed | Flexibility | Medium
EPN | Chatteris | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Kempstone | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Luton North Grid | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Marston Road | 2027 | Completed | Completed | DNOA review completed | Flexibility | Low
EPN | Outwell Moors | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Rickmansworth | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Sall Grid | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | West Horndon | 2027 | Completed | Completed | DNOA review completed | Flexibility | High
LPN | Sewell Road | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Chatham West B (T3 and T4) | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Chatham West Total | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Hailsham | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Teddington | 2027 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Alresford | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Austin Canons Primary | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Brandon | 2028 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Brimsdown South Grid | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Broxbourne | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Bruce Grove | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Caister | 2028 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Claydon Cement | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Cromer | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Crowlands Grid 33 | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Diss Grid | 2028 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Diss Grid 33 | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Downham Market | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Fulbourn Grid 132/11 | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Halesworth Grid 33 | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Halstead | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Hardingham | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | High Street | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Houghton Regis Primary | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Kimms Belt | 2028 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | Martlesham Total | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Mildenhall Total | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Nacton 11 | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Pelham Melbourn Stevenage Group | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Ponders End | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Sawston | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Tiptree | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Chequers | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Ashford Ruckinge Group | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
SPN | Guildford B 11kV | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
SPN | Lewes Town | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Medway Local | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | Medium
SPN | Warehorne | 2028 | Completed | Completed | DNOA review next cycle | TBA in next DNOA cycle | High
SPN | Wrotham | 2028 | Completed | Completed | DNOA review completed | Flexibility | Medium
EPN | Cherry Green | 2026 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | Cockfosters | 2026 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | Exning | 2026 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | Arbury Grid | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Biggleswade Total | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Central Edmonton | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Central Tottenham 11 | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | George Hill | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Hemel North | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Hilton | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Horsford | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Letchworth Grid 33 | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Manns Rd Total | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Sleaford St | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Swaffham Grid | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Thorley | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Upwell Lakes End | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | High
EPN | Watsons Rd | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | Wendover | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
EPN | West Braintree | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
LPN | Merton | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Medium
SPN | Byfleet 132/11 | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Lewes Central | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | North Cheam | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Sellindge Grid | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Stanford | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Low
SPN | Surbiton | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Medium
SPN | Sutton B | 2029 | Completed | 2026 | DNOA review next cycle | TBA in next DNOA cycle | Medium
EPN | Ampthill | 2030 | Completed | 2027 | Signposting | No action needed | High
EPN | Brimsdown North Grid 33 | 2030 | Completed | 2027 | Signposting | No action needed | Medium
EPN | Chaul End | 2030 | Completed | 2027 | Signposting | No action needed | Medium
EPN | East Letchworth | 2030 | Completed | 2027 | Signposting | No action needed | Medium
EPN | Gardiners Ln | 2030 | Completed | 2027 | Signposting | No action needed | Low
EPN | Peasenhall | 2030 | Completed | 2027 | Signposting | No action needed | High
EPN | Rainham (EPN) | 2030 | Completed | 2027 | Signposting | No action needed | Low
EPN | Stevenage Grid 33 | 2030 | Completed | 2027 | Signposting | No action needed | Low
EPN | Sundon 11 T3&T4 | 2030 | Completed | 2027 | Signposting | No action needed | Low
EPN | Takeley | 2030 | Completed | 2027 | DNOA review completed | Flexibility | High
EPN | Waltham Abbey | 2030 | Completed | 2027 | Signposting | No action needed | Low
EPN | Wiggenhall | 2030 | Completed | 2027 | Signposting | No action needed | Medium
LPN | Brixton | 2030 | Completed | 2027 | Signposting | No action needed | Low
LPN | Crayford | 2030 | Completed | 2027 | Signposting | No action needed | Low
LPN | Dartford B | 2030 | Completed | 2027 | Signposting | No action needed | Medium
LPN | Lithos Road | 2030 | Completed | 2027 | Signposting | No action needed | Medium
SPN | Effingham | 2030 | Completed | 2027 | Signposting | No action needed | Low
SPN | Gravesend South | 2030 | Completed | 2027 | Signposting | No action needed | Medium
SPN | Gravesend Town | 2030 | Completed | 2027 | Signposting | No action needed | Low
SPN | Hurstpierpoint | 2030 | Completed | 2027 | Signposting | No action needed | Medium
SPN | Mountfield | 2030 | Completed | 2027 | Signposting | No action needed | Medium
SPN | South Orpington | 2030 | Completed | 2027 | Signposting | No action needed | Low
SPN | Staplehurst | 2030 | Completed | 2027 | Signposting | No action needed | High
SPN | Weybridge | 2030 | Completed | 2027 | Signposting | No action needed | Low
EPN | Felixstowe Grid 33 | 2039 | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | Austin Canons Grid 33 | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | Dunstable | 2031 | 2026 | 2028 | Signposting | No action needed | Medium
EPN | Finchley Grid 33 | 2031 | 2026 | 2028 | Signposting | No action needed | Medium
EPN | Grays | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | Hemel East | 2031 | 2026 | 2028 | Signposting | No action needed | Medium
EPN | Knebworth | 2031 | 2026 | 2028 | Signposting | No action needed | High
EPN | Ladysmith Road | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | Lexden | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | North Enfield | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | North Hitchin | 2031 | 2026 | 2028 | Signposting | No action needed | High
EPN | Old Road | 2031 | 2026 | 2028 | Signposting | No action needed | High
EPN | Rainbow Lane | 2031 | 2026 | 2028 | Signposting | No action needed | High
EPN | Sall Grid 33 | 2031 | 2026 | 2028 | Signposting | No action needed | High
EPN | Snetterton | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | Verity Way | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | Wealdstone | 2031 | 2026 | 2028 | Signposting | No action needed | Low
LPN | Waterloo Road | 2031 | 2026 | 2028 | Signposting | No action needed | Medium
SPN | Ashford Grid | 2031 | 2026 | 2028 | Signposting | No action needed | Low
SPN | Bexhill Town | 2031 | 2026 | 2028 | Signposting | No action needed | Low
SPN | Dover T3/T4 | 2031 | 2026 | 2028 | Signposting | No action needed | Low
SPN | Queens Park | 2031 | 2026 | 2028 | Signposting | No action needed | High
SPN | Romney Warren | 2031 | 2026 | 2028 | Signposting | No action needed | Low
SPN | St Helier | 2031 | Completed | Competed | DNOA review completed | Flexibility | Medium
SPN | Tunbridge Wells 132/11 | 2031 | 2026 | 2028 | Signposting | No action needed | Low
EPN | Aylesbury East Grid 33 | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Beccles | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
EPN | Buckingham Road | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | Bury Grid 33 | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
EPN | Bury St | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | Church End | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Croydon | 2032 | Completed | Completed | DNOA review completed | Flexibility | High
EPN | East Hertford | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Eye | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | Fornham | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Gaywood Bridge | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
EPN | Hanger Lea | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Hartspring | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
EPN | Highfield | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Huntingdon 11 Grid | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
EPN | Little Barford | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Lowestoft Grid | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Manor Road | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | Manton Lane | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | North Chingford | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | Uplands Park | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | Walpole West group | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
EPN | Watton | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
EPN | West Chelmsford | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Low
LPN | Aberdeen Place B | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
LPN | Eltham Grid | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
LPN | Winlaton | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
LPN | Gibbons Road | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Aylesford | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
SPN | Brighton Fishersgate | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
SPN | Kingston Total | 2032 | 2027 | 2029 | Monitor load growth | No action needed | Medium
SPN | Rye | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
SPN | South Hove | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
SPN | Steel Cross | 2032 | 2027 | 2029 | Monitor load growth | No action needed | High
EPN | Belchamp Grid 33 | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | Caddington | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | Chase Cross | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | Cheddington | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | Cherry Tree | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | East Barnet | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | East Enfield | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | East Finchley | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | Elm Park | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | Marshfoot Road | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | Ongar | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | Saffron Walden | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | South Chingford | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
EPN | South Harrow | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | Southery | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | Stowmarket Grid 33 | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Low
EPN | Straight Road | 2033 | 2028 | 2030 | Monitor load growth | No action needed | High
EPN | Turnford | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
LPN | Bengeworth Road | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
LPN | Broadway | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
LPN | Clapham Park Road | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
LPN | West Norwood | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Low
SPN | Chatham Hill | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
SPN | Grovehurst Local | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Low
SPN | Horsell | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Low
SPN | Littlehampton Total | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
SPN | North Shoreham | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
SPN | Old Woking | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
SPN | Sutton A | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Medium
SPN | The Droveway | 2033 | 2028 | 2030 | Monitor load growth | No action needed | Low
LPN | Glaucus Street | 2027 | Completed | Completed | DNOA review completed | Reinforcement | Medium
EPN | Adelaide St | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Bellhouse Ln | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Bishops Stortford Grid 33 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Low
EPN | Clacton Grid 33 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Cringleford Total | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Dock Road | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | East Stevenage | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Fakenham | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Fleethall Grid 33 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Godmanchester | 2034 | Completed | Completed | DNOA review completed | Flexibility | Medium
EPN | Gorleston Grid 33 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Low
EPN | Grove Mill | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Halesworth Primary | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Ilmer Grid 33 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Kings Langley | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Leigh | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Lowestoft Grid 33 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Park St | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Playfield | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | South Ruislip | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
EPN | Whittlesey | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Wickford | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Wisbech Railway | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
LPN | Clarks Road | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
LPN | Exeter Road | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
LPN | Forest Hill | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Low
LPN | Hatchard Road | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
LPN | Sydenham Park | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Addington Grid | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Barming | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Betchworth | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
SPN | Bolney Grid | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Buxted | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
SPN | Canterbury Town | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Epsom | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Low
SPN | Horam | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
SPN | Horsebridge | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | North Worthing | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
SPN | Purley Grid | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Strood 132/11 | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Medium
SPN | Waterside | 2034 | 2029 | 2031 | Monitor load growth | No action needed | Low
SPN | Wingham | 2034 | 2029 | 2031 | Monitor load growth | No action needed | High
EPN | Barnet Grid 33 | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Becontree | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
EPN | Berkhamsted | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Braintree Depot | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Canvey | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Chisbon Heath | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Durham Road | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Ely | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
EPN | Golders Green | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Hutton | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Icklingham | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Ilmer 11 | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Lindsey St | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Luton Airport | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
EPN | Merryhill | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Mousehold | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Newmarket | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Noak Hill | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | North Wembley | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Ormesby | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Severalls | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
EPN | St Ives | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
EPN | Sundon 33 | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
EPN | Thorpe Bay | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Tottenham Grid | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
EPN | Valleybridge Rd | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
LPN | Bengeworth Road 33kV | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
LPN | Eltham High Street | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
LPN | Epping New Road | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
LPN | Ley Street | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
LPN | Woodgrange Park | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Addington Local | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Angmering | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Banstead | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Burgess Hill | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Caterham | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | CERL | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Cobham (Surrey) | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Ewell | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Headcorn | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Medway Grid | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Norbury | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Shalford | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Sheerness 33/6.6kV | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Low
SPN | Shepway | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Sittingbourne Town | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Thanet Grid | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Townsend Hook | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | W. Weybridge 132/33 | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | West Hoathly | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | West Wickham | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
SPN | Westgate | 2035 | 2030 | 2032 | Monitor load growth | No action needed | Medium
SPN | Worthing Grid A | 2035 | 2030 | 2032 | Monitor load growth | No action needed | High
EPN | Barnwell | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Bellevue | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Boundary Park | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Brogborough | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Bury (Cambs) Total | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Cell Barnes 11 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Central Wembley | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Chelmsford East Grid to Writtle Circuits | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Colchester Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Coryton Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Dunmow | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Earlham West | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | East Dereham | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Exchange Street | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Framlingham | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Frinton | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Hadleigh Essex | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Hainault Ave | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Harrow North | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Hendon Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Holywell Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Hornsey Grid 11 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Houghton Regis Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Ipswich Grid | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Ipswich Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Lawford 132 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Lewsey | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Little Belhus | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Littleport | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Lye Green | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Lye Green Grid 33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Marks Tey | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Marshalswick | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Parsons Heath Total | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Peldon | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Rayleigh Local | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Roundwood Road | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | South Chelmsford | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | South Witham | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Sprowston | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
EPN | Stowmarket Grid | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Thame | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
EPN | Watlington | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | West Beckham | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | West Letchworth | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Wix | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
LPN | Axe Street | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
LPN | Hyde Park A | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
LPN | Newington House | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
LPN | Ruxley (SPN) | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
LPN | Sydenham Park 33kV | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
LPN | Wimbledon Grid C 33kV | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Ashford West | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Byfleet 132/11 & 132/33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Chelsfield Grid | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Chertsey | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Coulsdon | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Cowfold | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Cranleigh | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Croydon B | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Dover Total | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | East Grinstead | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Farningham | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Faversham Total | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Hampden Park | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Hartley Grid | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Hastings Local 11kV | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Hawkhurst | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Jarvis Brook | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Leatherhead Town | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Maidstone 132/33 | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Merrow | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Nutfield | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
SPN | Polegate Grid | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Medium
SPN | Rosherville | 2036 | 2031 | 2033 | Monitor load growth | No action needed | Low
SPN | St Peters | 2036 | 2031 | 2033 | Monitor load growth | No action needed | High
EPN | Abbots Central | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Amersham 11 | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Barrow | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Bee | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Billericay East | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Coggeshall | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Cotton | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Cuffley | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Dovercourt | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Eastcote Primary | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Foxash | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Great Missenden | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Harrowden | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
EPN | Hemblington | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Hoddesdon | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Lake & Elliot | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Lonsdale Drive | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Melbourn Primary | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | North Stevenage | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
EPN | Palmers Green Grid | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Rayleigh Local 33 | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Sandy | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Shefford | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Soham | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | South Harlow | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Stonegrove | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Sudbury | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
EPN | Thetford Grid 33 | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Thundersley | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
EPN | Wickham Market Grid 33 | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
LPN | Amberley Road 11kV | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
LPN | Chislehurst | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
LPN | Churchfields | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
LPN | Dermody Road | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
LPN | Dukes Avenue | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
LPN | Eltham Grid 33kV | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
LPN | King Henry's Walk | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
LPN | Trinity Crescent | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Betteshanger Grid | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Canterbury Local | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Capel | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Cranbrook | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Crawley Ind West | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
SPN | Crowborough Town | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Eastbourne 132/11 | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
SPN | Esher | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Harrietsham | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | North Chessington | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Paddock Wood | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
SPN | Polegate Town | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
SPN | Pulborough | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Purley Local | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Shirley | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Southgate | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Low
SPN | Southwick | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Tonbridge East | 2037 | 2032 | 2034 | Monitor load growth | No action needed | High
SPN | Whitstable | 2037 | 2032 | 2034 | Monitor load growth | No action needed | Medium
SPN | Hangleton | 2038 | Completed | Completed | DNOA review completed | Reinforcement | Medium
EPN | Abberton Grid 33 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Bois Lane | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Central Potters Bar | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Chalvedon | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Cliff Quay Grid 33 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Colindale | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Danbury | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Elmswell | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Farcet | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Gusford Hall | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Hadleigh Suffolk | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Harold Wood | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Hatch End Grid 33 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Hatfield Grid 33 T1 and T2 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Kingsbury T1 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Longstanton | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Maldon Wick | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Piccotts End Grid 33 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Rye House Grid 33 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
EPN | Selinas Lane | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Shenley | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Shepreth | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | South Woodham | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Stanmore Grid | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Tivetshall | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Water Lane | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Wymondham Total | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Histon Grid 33 | 2045 | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Edwards Lane C | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
LPN | Gorringe Park | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
LPN | Grove Lodge | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
LPN | North Cross Road | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
LPN | Wandsworth | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
LPN | West Ham 66kV | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
EPN | Honington | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Ashtead | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Berrylands | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Bridges Lane | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Byfleet 132/33 | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Croydon A 6.6kV | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Folkestone East | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Goddards Green | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Haywards Heath | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Horley | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Leysdown | 2038 | Completed | Completed | DNOA review completed | Flexibility | High
SPN | Minster | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Northiam | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Richmond | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
SPN | Spurgeons Bridge | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Sundridge | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
SPN | Sutton Grid | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Swanley | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Twickenham Grid | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Medium
SPN | Uckfield | 2038 | 2033 | 2035 | Monitor load growth | No action needed | Low
SPN | West Hoathly Forest Row Group | 2038 | 2033 | 2035 | Monitor load growth | No action needed | High
EPN | Huntingdon Grid 33 | 2038 | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | Aylsham | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | Brentwood | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
EPN | Cell Barnes Grid 33 | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
EPN | Earlham Grid 33 | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
EPN | Frogmore | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
EPN | Fulbourn Grid 33 | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
EPN | Ingatestone | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | Leverington | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | Magdalen Way | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | North Finchley | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
EPN | Tattingstone | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | Tuckswood | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | Ware | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | Warren Heath | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
EPN | West Green | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
EPN | Whetstone | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
LPN | Blackhorse Lane | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
LPN | Bromley South | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
LPN | Bulwer Street | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
LPN | Chadwick Road 33kV | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
LPN | Fairlop | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
LPN | Farjeon | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
SPN | Biggin Hill | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
SPN | Edenbridge | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
SPN | Ham | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
SPN | Lewes Grid | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
SPN | Molesey | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
SPN | Newick | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
SPN | Nork | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
SPN | Rye Grid | 2039 | 2034 | 2036 | Monitor load growth | No action needed | High
SPN | Singleton | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Low
SPN | Sittingbourne West | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
SPN | Walton | 2039 | 2034 | 2036 | Monitor load growth | No action needed | Medium
EPN | Brington | 2040 | Completed | Completed | DNOA review completed | Flexibility with Reinforcement | Low
EPN | Chantry Lane | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Cranham | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Greenhill | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Hapton Total | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Harleston | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
EPN | Hornchurch Local | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
EPN | Little Barford Grid 33 | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Mulbarton | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
EPN | Narborough | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
EPN | Newtown | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Reydon | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
LPN | Durnsford | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
LPN | Holloway | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Low
LPN | Orpington (SPN) | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
LPN | Whiston Road | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Low
SPN | Baldslow | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
SPN | Brighton Local | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
SPN | Croydon Grid | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Low
SPN | Horsham 132/11 | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Low
SPN | Leatherhead Grid | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
SPN | Oxted | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
SPN | Peacehaven | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
SPN | Seaford | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
SPN | Selsdon | 2040 | 2035 | 2037 | Monitor load growth | No action needed | High
SPN | Tonbridge Town | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
SPN | West Croydon | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Low
SPN | Woking Town | 2040 | 2035 | 2037 | Monitor load growth | No action needed | Medium
EPN | Alpington | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Brockenhurst T1 | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Burnham Thorpe | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Harlow West Grid 33 | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Low
EPN | Lakenheath | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Leiston | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Prebend Street | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Medium
EPN | South Hitchin | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Southend Grid 33 | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | St Pauls | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Low
EPN | Tring | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Westoning Local | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Medium
SPN | Broadoak Local | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
SPN | Crowhurst | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
SPN | Dorking | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Medium
SPN | Folkestone 132/33 | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Medium
SPN | Little Common | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
SPN | Maidstone Grid South | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
SPN | Mereworth | 2041 | 2036 | 2038 | Monitor load growth | No action needed | Medium
SPN | Ocklynge | 2041 | 2036 | 2038 | Monitor load growth | No action needed | High
EPN | Burwell Primary | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
EPN | Bury Barrow Kennett Icklingham Group | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
EPN | Earlham Grid Local A | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Low
EPN | East Harpenden | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Elstree Primary Total | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
EPN | Langley Avenue | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Letchworth Factory | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Low
EPN | Melton | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Nevendon Grid 33 | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Low
EPN | Shrub End | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Snettisham | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Stalham | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Stanton Total | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Low
EPN | Sudbury Court | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Thaxted Grid 33 | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
EPN | Westbury | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Wethersfield | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
EPN | Writtle Street | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
LPN | Barnes B 6.6kV | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
LPN | Carslake | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
SPN | Brookwood | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
SPN | Chatham Grid | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
SPN | Deal | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
SPN | Guildford Grid | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Low
SPN | Hampton | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
SPN | Newhaven Grid | 2042 | 2037 | 2039 | Monitor load growth | No action needed | High
SPN | Pevensey Bay | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
SPN | Sompting | 2042 | 2037 | 2039 | Monitor load growth | No action needed | Medium
EPN | Bradwell | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
EPN | Braiswick | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
EPN | Clacton Grid | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
EPN | Hunstanton | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
EPN | Kingswood | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Low
EPN | Manor Way | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Low
EPN | Mill Hill T2 | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
EPN | Offord | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
EPN | Peterborough Central 11 Total | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Low
EPN | Romford | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
EPN | Storeys Way | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
LPN | Dartford Grid 33kV | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
SPN | Ashington | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
SPN | Chessington Grid | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
SPN | Hythe | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
SPN | Kemp Town | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Low
SPN | Leigh Grid | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
SPN | Ninfield Local | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
SPN | Rottingdean | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
SPN | Selhurst | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
SPN | Suffolk Road | 2043 | 2038 | 2040 | Monitor load growth | No action needed | High
SPN | Three Bridges | 2043 | 2038 | 2040 | Monitor load growth | No action needed | Medium
EPN | Lawford Grid 33 | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Low
EPN | Much Hadham | 2044 | 2039 | 2041 | Monitor load growth | No action needed | High
EPN | North Walsham | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Low
EPN | Orton | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Low
EPN | Rowley Lane Total | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Low
EPN | Tilbury Compact Grid 33 | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Medium
EPN | Welwyn Primary | 2044 | 2039 | 2041 | Monitor load growth | No action needed | High
EPN | Wroxham | 2044 | 2039 | 2041 | Monitor load growth | No action needed | High
SPN | Eastbourne 132/33 | 2044 | 2039 | 2041 | Monitor load growth | No action needed | High
SPN | Newhaven | 2044 | 2039 | 2041 | Monitor load growth | No action needed | High
SPN | Reigate | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Medium
SPN | Richborough Local | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Low
SPN | Ruckinge Grid | 2044 | 2039 | 2041 | Monitor load growth | No action needed | Medium
SPN | Tunbridge Wells 132/6.6 | 2044 | 2039 | 2041 | Monitor load growth | No action needed | High
SPN | Kenardington | - | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | Beighton | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Belchamp Grid | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Bungay | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Cranley Gardens | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Kenton | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Northwold | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Medium
EPN | Pinner Green | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Scottow | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Stevenage Primary | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Low
EPN | Tilbury Shell Coryton Sth Benfleet Group | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Low
EPN | Walsoken | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
EPN | Weston Longville | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
LPN | Buckhurst Hill 33kV via Brimsdown | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Medium
LPN | Holloway Grid 66kV | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Medium
SPN | Chartham | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
SPN | Eastchurch Prison Total | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Low
SPN | Goddards Green 33/11 | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Low
SPN | Marden 33/11 | 2045 | 2040 | 2042 | Monitor load growth | No action needed | High
SPN | Moulsecoomb Local | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Low
SPN | Worthing Grid B | 2045 | 2040 | 2042 | Monitor load growth | No action needed | Low
EPN | Groton | 2046 | 2041 | 2043 | Monitor load growth | No action needed | High
EPN | Henstead | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Medium
EPN | Holywell Grid | 2046 | 2041 | 2043 | Monitor load growth | No action needed | High
EPN | Lyle | 2046 | 2041 | 2043 | Monitor load growth | No action needed | High
EPN | Rye House Harlow West Epping Group | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Medium
EPN | Tapster Street | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Medium
EPN | Turret Lane Total | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Low
SPN | Beddington Local | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Low
SPN | Guildford A 11kV | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Low
SPN | Northfleet East | 2046 | 2041 | 2043 | Monitor load growth | No action needed | Low
EPN | Bushey Mill Grid 33 | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Low
EPN | Drinkstone | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | Gooseberry Green | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | Histon Primary | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | Lakeside | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Low
EPN | Mersea Road | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | New Harlow Total | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Low
EPN | Orford | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | Peterborough South Grid 11 | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Low
EPN | The Cross | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | Witham | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Low
LPN | Burlington Road | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Medium
SPN | Betteshanger Local | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
SPN | Margate | 2047 | 2042 | 2044 | Monitor load growth | No action needed | Low
SPN | Tunbridge Wells Town via 132/6.6 | 2047 | 2042 | 2044 | Monitor load growth | No action needed | High
EPN | Cornard | 2048 | 2043 | 2045 | Monitor load growth | No action needed | Low
EPN | Great Yarmouth Grid | 2048 | 2043 | 2045 | Monitor load growth | No action needed | High
EPN | Kensworth | 2048 | 2043 | 2045 | Monitor load growth | No action needed | High
EPN | Leighton Buzzard | 2048 | 2043 | 2045 | Monitor load growth | No action needed | Low
EPN | Luton North 33kV | 2048 | 2043 | 2045 | Monitor load growth | No action needed | Low
EPN | West Potters Bar | 2048 | 2043 | 2045 | Monitor load growth | No action needed | Low
LPN | Lombard Road B | 2048 | 2043 | 2045 | Monitor load growth | No action needed | Low
SPN | Guildford 6.6kV | 2048 | 2043 | 2045 | Monitor load growth | No action needed | High
SPN | Twickenham | 2048 | 2043 | 2045 | Monitor load growth | No action needed | Medium
EPN | Warners End | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
EPN | Woodwalton | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
SPN | East Croydon | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
SPN | Herne Bay Grid | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
SPN | Herne Bay Total | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
SPN | North Sevenoaks | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
SPN | Rainham Mark | 2049 | 2044 | 2046 | Monitor load growth | No action needed | Low
SPN | Wadhurst | 2049 | 2044 | 2046 | Monitor load growth | No action needed | High
EPN | Egmere | 2050 | 2045 | 2047 | Monitor load growth | No action needed | High
EPN | Rickinghall | 2050 | 2045 | 2047 | Monitor load growth | No action needed | High
LPN | Kimberley | 2032 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | Kings Lynn Grid 33 | 2038 | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | Long Road | 2026 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | Acrows | - | - | - | Monitor load growth | No action needed | Low
EPN | Addenbrookes | - | - | - | Monitor load growth | No action needed | Low
EPN | Arbury | - | - | - | Monitor load growth | No action needed | Low
EPN | Arla Dairies | - | - | - | Monitor load growth | No action needed | Low
EPN | Austin Street | - | - | - | Monitor load growth | No action needed | Low
EPN | Barclay Way | - | - | - | Monitor load growth | No action needed | Low
EPN | Barrack Street Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Barton | - | - | - | Monitor load growth | No action needed | Low
EPN | Basildon Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Bassingbourn | - | - | - | Monitor load growth | No action needed | Low
EPN | Bata | - | - | - | Monitor load growth | No action needed | Low
EPN | Benhall | - | - | - | Monitor load growth | No action needed | Low
EPN | Bentwaters | - | - | - | Monitor load growth | No action needed | Low
EPN | Berechurch | - | - | - | Monitor load growth | No action needed | Low
EPN | Boxted Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Brantham | - | - | - | Monitor load growth | No action needed | Low
EPN | Bushey Mill Grid 11 | - | - | - | Monitor load growth | No action needed | Low
EPN | Capability Green | - | - | - | Monitor load growth | No action needed | Low
EPN | Central Welwyn | - | - | - | Monitor load growth | No action needed | Low
EPN | Chinnor | - | - | - | Monitor load growth | No action needed | Low
EPN | Colchester Grid 11 | - | - | - | Monitor load growth | No action needed | Low
EPN | Coldharbour Farm | - | - | - | Monitor load growth | No action needed | Low
EPN | Crouch End | - | - | - | Monitor load growth | No action needed | Low
EPN | Debenham | - | - | - | Monitor load growth | No action needed | Low
EPN | Earlham Grid Local B | - | - | - | Monitor load growth | No action needed | Low
EPN | East Bay | - | - | - | Monitor load growth | No action needed | Low
EPN | Epping Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Fagbury Road Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Fleethall Local | - | - | - | Monitor load growth | No action needed | Low
EPN | Fords Dunton | - | - | - | Monitor load growth | No action needed | Low
EPN | Fore Hamlet Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Funthams Lane Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Glaxo | - | - | - | Monitor load growth | No action needed | Low
EPN | Glemsford | - | - | - | Monitor load growth | No action needed | Low
EPN | Great Witchingham | - | - | - | Monitor load growth | No action needed | Low
EPN | Hacheston | - | - | - | Monitor load growth | No action needed | Low
EPN | Harlow West | - | - | - | Monitor load growth | No action needed | Low
EPN | Hatch End Grid | - | - | - | Monitor load growth | No action needed | Low
EPN | Hatfield 11 | - | - | - | Monitor load growth | No action needed | Low
EPN | Hedley Avenue | - | - | - | Monitor load growth | No action needed | Low
EPN | Hitcham | - | - | - | Monitor load growth | No action needed | Low
EPN | Horningsea T Fulbourn Circuits | - | - | - | Monitor load growth | No action needed | Low
EPN | Ilketshall Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Industrial | - | - | - | Monitor load growth | No action needed | Low
EPN | Kennett | - | - | - | Monitor load growth | No action needed | Low
EPN | Knapton | - | - | - | Monitor load growth | No action needed | Low
EPN | Landbeach | - | - | - | Monitor load growth | No action needed | Low
EPN | Langdon | - | - | - | Monitor load growth | No action needed | Low
EPN | Langham | - | - | - | Monitor load growth | No action needed | Low
EPN | Lawford Wix Dovercourt Circuits | - | - | - | Monitor load growth | No action needed | Low
EPN | Leavesden Studios | - | - | - | Monitor load growth | No action needed | Low
EPN | Linton Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Luton South Grid | - | - | - | Monitor load growth | No action needed | Low
EPN | Luton St Marys | - | - | - | Monitor load growth | No action needed | Low
EPN | Madingley Road | - | - | - | Monitor load growth | No action needed | Low
EPN | Maldon Causway | - | - | - | Monitor load growth | No action needed | Low
EPN | Marston Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | May & Baker | - | - | - | Monitor load growth | No action needed | Low
EPN | Melbourn Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Old Welwyn Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Oysterbed Road | - | - | - | Monitor load growth | No action needed | Low
EPN | Peachman Way Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Perry | - | - | - | Monitor load growth | No action needed | Low
EPN | Pitstone | - | - | - | Monitor load growth | No action needed | Low
EPN | Purfleet T1 & T2 | - | - | - | Monitor load growth | No action needed | Low
EPN | Purfleet T3 & T4 | - | - | - | Monitor load growth | No action needed | Low
EPN | Martham | 2028 | Completed | Completed | DNOA review completed | Reinforcement | High
EPN | RAF Alconbury | - | - | - | Monitor load growth | No action needed | Low
EPN | Romford North | - | - | - | Monitor load growth | No action needed | Low
EPN | Royston Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Rye House Local | - | - | - | Monitor load growth | No action needed | Low
EPN | Saunderton | - | - | - | Monitor load growth | No action needed | Low
EPN | Sentrum Watford (Inset) | - | - | - | Monitor load growth | No action needed | Low
EPN | Shell Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Shotley | - | - | - | Monitor load growth | No action needed | Low
EPN | South Benfleet Primary | - | - | - | Monitor load growth | No action needed | Low
EPN | South Stevenage | - | - | - | Monitor load growth | No action needed | Low
EPN | St Stephens | - | - | - | Monitor load growth | No action needed | Low
EPN | Stanmore Grid 45% | - | - | - | Monitor load growth | No action needed | Low
EPN | Stanmore Grid 55% | - | - | - | Monitor load growth | No action needed | Low
EPN | Stansted Airport | - | - | - | Monitor load growth | No action needed | Low
EPN | Stewartby | - | - | - | Monitor load growth | No action needed | Low
EPN | Stopsley | - | - | - | Monitor load growth | No action needed | Low
EPN | Sundon 11 T1&T2 | - | - | - | Monitor load growth | No action needed | Low
EPN | The Limes | - | - | - | Monitor load growth | No action needed | Low
EPN | Thetford Grid | - | - | - | Monitor load growth | No action needed | Low
EPN | Thompsons Lane | - | - | - | Monitor load growth | No action needed | Low
EPN | Thorpe Grid Local | - | - | - | Monitor load growth | No action needed | Low
EPN | Tilbury Local | - | - | - | Monitor load growth | No action needed | Low
EPN | Tillingham Total | - | - | - | Monitor load growth | No action needed | Low
EPN | Tunnel | - | - | - | Monitor load growth | No action needed | Low
EPN | Walpole East group | - | - | - | Monitor load growth | No action needed | Low
EPN | Waltham Park Grid | - | - | - | Monitor load growth | No action needed | Low
EPN | Warren Springs | - | - | - | Monitor load growth | No action needed | Low
EPN | Welwyn Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Wembley Park | - | - | - | Monitor load growth | No action needed | Low
EPN | West Bedford | - | - | - | Monitor load growth | No action needed | Low
EPN | West Hertford | - | - | - | Monitor load growth | No action needed | Low
EPN | Westoning Grid | - | - | - | Monitor load growth | No action needed | Low
EPN | Whapload Road | - | - | - | Monitor load growth | No action needed | Low
EPN | Worstead | - | - | - | Monitor load growth | No action needed | Low
EPN | Wymondley Grid 33 | - | - | - | Monitor load growth | No action needed | Low
EPN | Milton Road | 2026 | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Nelson Street | - | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Paternoster | - | Completed | Completed | DNOA review completed | Reinforcement | Low
EPN | Radnor | - | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Aberdeen Place A | - | - | - | Monitor load growth | No action needed | Low
LPN | Back Hill 132kV Group | - | - | - | Monitor load growth | No action needed | Low
SPN | Ramsgate | 2033 | Completed | Completed | DNOA review completed | Reinforcement | Medium
LPN | Back Hill A | - | - | - | Monitor load growth | No action needed | Low
LPN | Bankside C Total | - | - | - | Monitor load growth | No action needed | Low
LPN | Barking West | - | - | - | Monitor load growth | No action needed | Low
LPN | Beech Street A | - | - | - | Monitor load growth | No action needed | Low
LPN | Beech Street B | - | - | - | Monitor load growth | No action needed | Low
LPN | Blackwall Way 132/11 | - | - | - | Monitor load growth | No action needed | Low
LPN | Bloomfield | - | - | - | Monitor load growth | No action needed | Low
LPN | Bromley Grid 33kV | - | - | - | Monitor load growth | No action needed | Low
SPN | Sittingbourne Grid | 2028 | Completed | Completed | DNOA review completed | Reinforcement | Medium
LPN | Calshot Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Carnaby Street | - | - | - | Monitor load growth | No action needed | Low
LPN | City Road B | - | - | - | Monitor load growth | No action needed | Low
LPN | City Road C | - | - | - | Monitor load growth | No action needed | Low
LPN | Deptford 22kV | - | - | - | Monitor load growth | No action needed | Low
LPN | Deptford Grid | - | - | - | Monitor load growth | No action needed | Low
LPN | Devonshire Square | - | - | - | Monitor load growth | No action needed | Low
LPN | Duke Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Ebury Bridge | - | - | - | Monitor load growth | No action needed | Low
LPN | Erith | - | - | - | Monitor load growth | No action needed | Low
LPN | Finsbury Market A | - | - | - | Monitor load growth | No action needed | Low
LPN | Finsbury Market B 33kV | - | - | - | Monitor load growth | No action needed | Low
LPN | Finsbury Market D | - | - | - | Monitor load growth | No action needed | Low
LPN | Finsbury Market E | - | - | - | Monitor load growth | No action needed | Low
LPN | Finsbury Market F 33kV | - | - | - | Monitor load growth | No action needed | Low
LPN | Fisher Street 132/11 | - | - | - | Monitor load growth | No action needed | Low
LPN | Fulham Palace 'C' | - | - | - | Monitor load growth | No action needed | Low
LPN | Georgiana Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Hackney C | - | - | - | Monitor load growth | No action needed | Low
LPN | Hackney Grid 66kV | - | - | - | Monitor load growth | No action needed | Low
LPN | Hearn Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Hyde Park B | - | - | - | Monitor load growth | No action needed | Low
LPN | Imperial College | - | - | - | Monitor load growth | No action needed | Low
LPN | Kings Yard A | - | - | - | Monitor load growth | No action needed | Low
LPN | Kings Yard B | - | - | - | Monitor load growth | No action needed | Low
LPN | Kingsway | - | - | - | Monitor load growth | No action needed | Low
LPN | Leicester Square | - | - | - | Monitor load growth | No action needed | Low
LPN | Limeburner Lane | - | - | - | Monitor load growth | No action needed | Low
LPN | Longford Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Montford Place Total | - | - | - | Monitor load growth | No action needed | Low
LPN | Moreton Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Moreton Street C | - | - | - | Monitor load growth | No action needed | Low
LPN | Moscow Road | - | - | - | Monitor load growth | No action needed | Low
LPN | Moscow Road 22kV | - | - | - | Monitor load growth | No action needed | Low
LPN | Neckinger | - | - | - | Monitor load growth | No action needed | Low
LPN | Old Brompton Road | - | - | - | Monitor load growth | No action needed | Low
LPN | Old School Close | - | - | - | Monitor load growth | No action needed | Low
LPN | Osborn Street 132/11 | - | - | - | Monitor load growth | No action needed | Low
LPN | Petts Wood (SPN) | - | - | - | Monitor load growth | No action needed | Low
LPN | Shorts Gardens | - | - | - | Monitor load growth | No action needed | Low
LPN | Silvertown | - | - | - | Monitor load growth | No action needed | Low
LPN | Simpsons Road | - | - | - | Monitor load growth | No action needed | Low
LPN | South Bank | - | - | - | Monitor load growth | No action needed | Low
LPN | St Johns Wood 22kV | - | - | - | Monitor load growth | No action needed | Low
LPN | Stewarts Road | - | - | - | Monitor load growth | No action needed | Low
LPN | Stone (SPN) | - | - | - | Monitor load growth | No action needed | Low
LPN | Swanscombe (SPN) | - | - | - | Monitor load growth | No action needed | Low
LPN | Tooley Street | - | - | - | Monitor load growth | No action needed | Low
LPN | Townmead | - | - | - | Monitor load growth | No action needed | Low
LPN | Victoria Gardens | - | - | - | Monitor load growth | No action needed | Low
LPN | Victoria Street | - | - | - | Monitor load growth | No action needed | Low
LPN | West Ferry Circus | - | - | - | Monitor load growth | No action needed | Low
LPN | West Ham Grid Total | - | - | - | Monitor load growth | No action needed | Low
LPN | West Ham to Brunswick Circuits | - | - | - | Monitor load growth | No action needed | Low
LPN | Wimbledon Wandsworth 66kV Group | - | - | - | Monitor load growth | No action needed | Low
LPN | Wood Lane 132/11kV | - | - | - | Monitor load growth | No action needed | Low
EPN | Trowse Grid 33 | 2026 | Completed | Completed | DNOA review completed | Reinforcement | High
SPN | Addington Grid 33/11 | - | - | - | Monitor load growth | No action needed | Low
SPN | Ashburton Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Beddington 132/33 | - | - | - | Monitor load growth | No action needed | Low
SPN | Bensham Grove | - | - | - | Monitor load growth | No action needed | Low
SPN | Brighton Town Total | - | - | - | Monitor load growth | No action needed | Low
SPN | Burham Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Canterbury South | - | - | - | Monitor load growth | No action needed | Low
LPN | Verney Road | 2027 | Completed | Completed | DNOA review completed | Reinforcement | Low
LPN | Wandsworth Grid 66kV | - | Completed | Completed | DNOA review completed | Reinforcement | Low
SPN | Withdean | 2028 | Completed | Completed | DNOA review completed | Reinforcement | High
SPN | Cobham (Kent) Total | - | - | - | Monitor load growth | No action needed | Low
SPN | Crawley Ind East | - | - | - | Monitor load growth | No action needed | Low
SPN | Crawley Town | - | - | - | Monitor load growth | No action needed | Low
SPN | Crossways | - | - | - | Monitor load growth | No action needed | Low
SPN | Croydon Central | - | - | - | Monitor load growth | No action needed | Low
SPN | Croydon Grid 11kV | - | - | - | Monitor load growth | No action needed | Low
SPN | Dormansland Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Ebbsfleet | - | - | - | Monitor load growth | No action needed | Low
SPN | Folkestone Morehall | - | - | - | Monitor load growth | No action needed | Low
SPN | Forest Row | - | - | - | Monitor load growth | No action needed | Low
SPN | Four Elms | - | - | - | Monitor load growth | No action needed | Low
SPN | Gatwick Airport A/F | - | - | - | Monitor load growth | No action needed | Low
SPN | Goudhurst | - | - | - | Monitor load growth | No action needed | Low
SPN | Grain | - | - | - | Monitor load growth | No action needed | Low
SPN | Gravesend West | - | - | - | Monitor load growth | No action needed | Low
SPN | Grovehurst | - | - | - | Monitor load growth | No action needed | Low
SPN | Halling | - | - | - | Monitor load growth | No action needed | Low
SPN | Hastings 132/33 | - | - | - | Monitor load growth | No action needed | Low
SPN | Kingsnorth | - | - | - | Monitor load growth | No action needed | Low
SPN | Kingston Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Littlebrook Park 132/11 | - | - | - | Monitor load growth | No action needed | Low
SPN | Longfield | - | - | - | Monitor load growth | No action needed | Low
SPN | Lordswood | - | - | - | Monitor load growth | No action needed | Low
SPN | Maidstone Grid North | - | - | - | Monitor load growth | No action needed | Low
SPN | Manston | - | - | - | Monitor load growth | No action needed | Low
SPN | Meads | - | - | - | Monitor load growth | No action needed | Low
SPN | Moulsecoomb Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | New Hythe | - | - | - | Monitor load growth | No action needed | Low
SPN | Ninfield Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Pembury Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Penshurst | - | - | - | Monitor load growth | No action needed | Low
SPN | Portslade | - | - | - | Monitor load growth | No action needed | Low
SPN | Queenborough | - | - | - | Monitor load growth | No action needed | Low
SPN | Redhill | - | - | - | Monitor load growth | No action needed | Low
SPN | Richborough Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Robertsbridge | - | - | - | Monitor load growth | No action needed | Low
SPN | Rusthall | - | - | - | Monitor load growth | No action needed | Low
SPN | Sheerness Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Smallfield Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Smeeth | - | Completed | Completed | DNOA review completed | Flexibility | Low
SPN | South Worthing | - | - | - | Monitor load growth | No action needed | Low
SPN | Southwater | - | - | - | Monitor load growth | No action needed | Low
SPN | Stelrad Ramsgate | - | - | - | Monitor load growth | No action needed | Low
SPN | Steyning Grid | - | - | - | Monitor load growth | No action needed | Low
SPN | Steyning Local | - | - | - | Monitor load growth | No action needed | Low
SPN | Stone Marshes | - | - | - | Monitor load growth | No action needed | Low
SPN | Thanet Local | - | - | - | Monitor load growth | No action needed | Low
SPN | Ticehurst | - | - | - | Monitor load growth | No action needed | Low
SPN | Tunbridge Wells 132/33 | - | - | - | Monitor load growth | No action needed | Low
SPN | Worthing Town Total | - | - | - | Monitor load growth | No action needed | Low