LAEP Data Dictionary

Checklist – Small

Solar PV

Quick reference checklist for assembling data for UKPN forecasting from a Local Area Energy Plan for Small Solar PV

ERM

Exchequer Court, 33 St Mary Axe, London, EC3A 8AA

CONTENTS

1.	Introduction	1

2.	Small Solar PV (<150 kW)	1

2.1	Domestic PV Data	1

2.2	Non-Domestic PV Data	2

Acronyms and Abbreviations

| Name | Description |
| --- | --- |
| LAEP | Local Area Energy Plan |
| UKPN | UK Power Network |
| LSOA | Lower Layer Super Output Areas |
| DFES | Distribution Future Energy Scenarios |
| ONS | Office for National Statistics |

© Copyright 2024 by ERM Worldwide Group Ltd and/or its affiliates (“ERM”). 
All rights reserved. No part of this work may be reproduced or transmitted in any form, 
or by any means, without the prior written permission of ERM.

# Introduction

This checklist was written to accompany version 7 of the LAEP input for modelling data dictionary. It is designed to be a quick reference guide to help with the assembly of the data required for UKPN’s forecasting tool, but the data dictionary definition itself is to be used as the comprehensive definition of requirements. This checklist specifically covers the compilation of small solar PV data. Other checklists are provided to support the compilation of data for other technologies.

# Small Solar PV (<150 kW)

Note that if possible, domestic and non-domestic solar data should be provided separately for this technology. For more information, see the Small Solar PV guide.

## Domestic PV Data

☐ Convert the LAEP output data on domestic PV less than 150 kW into a CSV indexed by geographical area.

☐ Check that the units of the data used matches the units stated in the data dictionary questionnaire.

☐ Check that the geographic area naming of the data exactly matches the naming used for the area stated in the data dictionary questionnaire, wither custom or official (check the ONS Open Geography Portal for official boundary naming definitions).

☐ If providing LSOA level data, check that data is only included for LSOAs listed in the “List of relevant 2011 LSOAs” or “List of relevant 2021 LSOAs” files provided in the “General Information” folder.

☐ Ensure that each year between the base year and 2050 has a column, even if empty.

☐ If relevant for your LAEP, ensure that the year definition used for the data matches the definition given in the data dictionary questionnaire in the “General Information” folder.

☐ Add a column with the LAEP name to indicate the data origin.

☐ Make sure naming doesn’t have typos (check capitalisation, spelling, spaces).

☐ Make sure the file is saved in the CSV UTF-8 (Comma delimited) format.

Figure 1: First row of domestic solar PV uptake data template including first year of data, with comments detailing how data should be entered. Identical to non-domestic template.

## Non-Domestic PV Data

☐ Convert the LAEP output data on non-domestic PV less than 150 kW into a CSV indexed by geographical area.

☐ Check that the units of the data used matches the units stated in the data dictionary questionnaire.

☐ Check that the geographic area naming of the data exactly matches the naming used for the area stated in the data dictionary questionnaire, wither custom or official (check the ONS Open Geography Portal for official boundary naming definitions).

☐ If providing LSOA level data, check that data is only included for LSOAs listed in the “List of relevant 2011 LSOAs” or “List of relevant 2021 LSOAs” files provided in the “General Information” folder.

☐ Ensure that each year between the base year and 2050 has a column, even if empty.

☐ If relevant for your LAEP, ensure that the year definition used for the data matches the definition given in the data dictionary questionnaire in the “General Information” folder.

☐ Add a column with the LAEP name to indicate the data origin.

☐ Make sure naming doesn’t have typos (check capitalisation, spelling, spaces).

☐ Make sure the file is saved in the CSV UTF-8 (Comma delimited) format.

Figure 2: First row of domestic solar PV uptake data template including first year of data, with comments detailing how data should be entered. Identical to domestic template.