Common Ask

Data Dictionary 
Introduction

Thank you for agreeing to provide data from your LAEP for Networks to understand how your LAEP plans impact plans in your area. This document pack contains two folders, which outline how to prepare data for the different Networks interested in using your data to inform their planning.

Effort has been made to minimise the difference between these data dictionaries, with the intention of minimising the amount of additional effort required to prepare data for multiple audiences. For example, for heating technologies for individual buildings, the formats are very similar and only differ in the technologies considered. However, due to differences in how Networks use your data, some unavoidable differences do exist between the formats needed for the two dictionaries, so caution is advised to make sure that the data prepared aligns with the format required for the specific technologies.

The technologies requested by the different dictionaries are as follows:

Electricity Data Dictionary

District Heating

Waste Heat

Heat Pumps

Heat Pumps, Resistive Heating and Biomass

Domestic and I&C ASHPs (ATA and ATW)

Domestic and I&C GSHPs

Domestic and I&C Hybrid Heat Pumps

Domestic and I&C Electric Resistive Heating (Day and Night)

Domestic and I&C Biomass

Domestic Thermal Efficiency

Small Solar PV

Electric Vehicles

Gas Data Dictionary

District Heating and Individual Heating (Domestic and I&C)

Hydrogen

Biomethane

Natural Gas

Blended Hydrogen and Natural Gas

Blended Biomethane and Natural Gas

Blended Hydrogen and Biomethane

Blended Hydrogen and Biomethane and Natural Gas